## Overview Submeter Solutions
Overview Submeter Solutions
These solutions apply exclusively to Delivery Points within the electrical facilities of a Grid User connected to the ELIA Grid.
|  | Option 1 |  |  | Option 2 | Option 3
| Accuracy Class | A | B | C
|  | 0,2S | 0,5S | 1
| TI | Private |  |  | Private | Private
| TP | Private |  |  | Private | Private
| Meter | Standard Elia |  |  | Private | Private
| Datalogger | n.a. |  |  | Standard Elia | (Private)
| Router 4G | included in the cubicle Elia |  |  | included in the cubicle Elia | Standard Elia

## Technical Info
|  | Ordering information for submetering appliances |  | Client Version
2023
General Information
Name Elia Grid User
EAN Elia Access Point
Name Elia Access Point
Hide | Elia P5 code
| Number of Submeters | 1
| Contact Person Elia | Arnaud Willem
+32 456 118 214
Arnaud.Willem@elia.be
Checklist Technical Documentation
Single Line Diagram (SLD) of the grid user's electrical installations with indication of submeter(s)
Site Map of the grid user's site with indication of submeter(s) emplacement
General Technical Information
| # Submeter | 1 | 2 | 3
Identification Submeter [Name]
Total installed power [MVA]
Chosen Submeter Solution
Metering at the End of the Current Loop?
Hide | Antenna cable for 4G Router |  |  |  | Vewerken in workload
Hide | Calculated Impulse Weight Standard ELIA
Impulse Weight Customer [kWh]
Option for impulse outputs
3 x Current transformer (CT)
| General Information | 1 | 2 | 3
Manufacturer
Type
Serial Number
Year of Manufacture
Localization
| Technical Characteristics | 1 | 2 | 3
Iprim [A]
Isec [A]
Burden [VA]
Accuracy Class
Earthing of CT
3 x Voltage transformer (VT)
| General Information | 1 | 2 | 3
Manufacturer
Type
Serial Number
Year of Manufacture
Localization
| Technical Characteristics | 1 | 2 | 3
Uprim [V]
Usec [V]
Burden [VA]
Accuracy Class
Private Meter
| General Information | 1 | 2 | 3
Manufacturer
Type
Serial Number
Year of Manufacture
Localization
| Technical Characteristics | 1 | 2 | 3
Technology
Full Manufacturer Reference
Software Version
Firmware Version
Accuracy Class
Inom [A]
Unom [Vac]
Measurement Method
Power Supply [Vac] or [Vdc]
Auxilary Power Supply?
Communication Protocol
| Technical Documentation | 1 | 2 | 3
Last Precision Control Report (< 5 Years)
Original Calibration Certificate
Hide
Hide | Submeter Equipment IDs (InfraRef)
Hide | General Information | 1 | 2 | 3
Hide | Generalities Container ID
Hide | Metering Container ID
Hide | Datalogger Container ID
Hide | Communication Container ID
Contact Information
Technical Client Contacts
| Contact n° 1 | 1 | 2 | 3
Name
Function
Cell phone number
E-mail address
| Contact n° 2 | 1 | 2 | 3
Name
Function
Cell phone number
E-mail address
Commercial Client Contacts
| Contact n° 1 | 1 | 2 | 3
Name
Function
Cell phone number
E-mail address
Delivery Client Contacts
| Contact n° 1 | 1 | 2 | 3
Company
Street & number
Building
Department
Entrance Reference
ZIP code
Village/Town
Contact Name
Contact Cell phone number
Contact E-mail address
Hide | Comments
Hide |  | 1 | 2 | 3
Hide | Comments per solution
Hide | General comments

## Worksheet (hidden)
Genormaliseerde Impulswaarden
0.1
0.25
0.5
1
2
5
10
15
20
25
50
100
250
500
Numerical | Electronic | Electromechanic
0.2S | 0.2S | 0.2
0.5S | 0.5S | 0.5
1.0S | 1.0S | 1.0
1A | 1B | 1C | 2 | 3
|  |  | Numerical | Numerical
Electronic
Electromechanic
[7 empty] | Optie 1 | Optie 2 | Optie 3
[6 empty] | n | 1 | 2 | 0
[5 empty] | Bestelling SAP + voorbereiding dossier | Technieker (1 tot 6) | 6 | 6 | 0
[5 empty] | Opvolging | Contre-maître | 6 | 4 | 0
[5 empty] | IDN + afsluiting dossier | Technicien (1 tot 6) | 8 | 8 | 0
[6 empty] | Totaal | 20 | 18 | 0

## Elia Smart Overview (hidden)
IOT Reference
3T-Number
SAP Ordering Information
| SAP n° | Article description | Quantity | Unit price | Cost Elia
Material | 1063508 | Generalities cabinet | 2 | 2068.26 | 4136.52
| 1063509 | Metering cabinet Cl 0,2S | 0 | 4023.64 | 0
| 1063510 | Metering cabinet Cl 0,5S | 0 | 3562.64 | 0
| 1063511 | Metering cabinet Cl 1,0S | 0 | 2859.64 | 0
|  | Datalogger cabinet | 2 | 4849.53 | 9699.06
| 1063513 | Impulse output option A+/A- | 0 | 257 | 0
| 1063514 | All impulses | 0 | 514 | 0
|  | Communication cabinet | 0 | 0 | 0
|  | 4G Router(s) | 2 | 1600 | 3200
| 1063493 | Integration of 4G Router | 1 | 459.49 | 459.49
|  |  | Cost Elia |  | 17495.07
Resources & Elia Tools
| Type | Workload item description | Quantity
| Hours | Expert Technician - (Employee Elia Class 1-6, A-C) | 18
| FFT | Verplaatsing forfait / Déplacement forfait | 1
| PCE | Meetapparatuur/Petit outilage et appareils de mesure (enkel optie 1) | 0