## Contents
Adequacy and Flexibility study 2022-2032 - public consultation on the central scenario and data
This data is provided in the framework of the Adequacy and Flexibility study covering the years from 2022 to 2032. This study will be published before end of June 2021 as requested by law.
It includes data assumptions for Belgium from 2022 to 2032.
Data contained in this document is subject to a public consultation, starting 30/10/2020 and ending 30/11/2020 at 6:00 pm.
This Excel file contains the data related to the scenario framework of the study including economic and flexibility aspects.
Another document explains the methodology. The stakeholders can also use the presentation given during the Task Force on 30/10 as explanatory document where most of the data in this document are presented.
Input data for market and flexibility simulations
1. Generation
1.1. Invidividually modelled thermal generation
1.2. Renewable energy sources and non-CIPU thermal units
1.3. Storage
2. Demand
2.1. Total electricity demand
2.2. Demand Side Response
3. Economic and technical variables
3.1. Fuel and CO2 prices
3.2. Investment costs
3.3. Outages
3.4. Flexibility characteristics
4. Flow-based domains
4.1. Main assumptions for flow-based domains
5. Other countries
5.1. Data for other countries

## 1.1. Ind. mod. thermal prod.
1.1. Individually modelled thermal generation
Sources |  |  |  |  | Color Legend
- This information is based on official information known. |  |  |  |  | Units that will not be part of the EVA unless are indicated by market parties to be at risk or that the support mechanism is to be stopped in the future
- Please inform us if any unit(s) are to be considered as not available for future time horizons or if any of those units are at risk of not being available and for which reasons. |  |  |  |  | Units that are not available for the market or closed
Units will be part of the Economic Viability Assessment (EVA)
Available units and no EVA will be performed (nuclear)
Situation at end of the given year - considered as available for the EVA/market
Owner | Production unit name | Type | Fuel type | Net generation capacity [MW] | Proposal to be considered in the Economic Viability Assessment (EVA) | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
Engie electrabel | Syral Aalst GT | CHP | Gas | 43 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Engie electrabel | Syral Aalst ST | CHP | Gas | 5 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Engie electrabel | AALTER TJ | TJ | Oil | 18 | Yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Engie electrabel | AMERCOEUR 1R GT | CCGT-GT | Gas | 289 | Yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Engie electrabel | AMERCOEUR 1R ST_cur | CCGT-ST | Gas | 162 | Yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Luminus | EDF Luminus Angleur GT41 | GT | Gas | 64 | Yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Luminus | EDF Luminus Angleur GT42 | GT | Gas | 64 | Yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Luminus | EDF Luminus Angleur GT31 | CCGT-GT | Gas | 25 | Yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Luminus | EDF Luminus Angleur GT32 | CCGT-GT | Gas | 25 | Yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Engie electrabel | AWIRS 4 | CL | Biomass | 75 | - | bar: Situation at end of the given year - considered as available for the EVA/market 2020 to Situation at end of the given year - considered as available for the EVA/market 2032
Engie electrabel | BEERSE TJ | TJ | Oil | 32 | Yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Indaver | Beveren 2 Indaver | IS | Waste | 21 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Engie electrabel | Beveren Ineos Phenol Chem | CHP | Gas | 25.1 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Indaver | Beveren Sleco | IS | Waste | 41 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Biostoom | Biostoom Oostende | IS | Waste | 19.4 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Engie electrabel | CIERREUX TJ | TJ | Oil | 18 | Yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Engie electrabel | DOEL 1 | NU | Nuclear | 445 | No - based on the law (official closure dates taken into account) | yes | yes | yes | yes | yes | no | no | no | no | no | no | no | no
Engie electrabel | DOEL 2 | NU | Nuclear | 445 | No - based on the law (official closure dates taken into account) | yes | yes | yes | yes | yes | no | no | no | no | no | no | no | no
Engie electrabel | DOEL 3 | NU | Nuclear | 1006 | No - based on the law (official closure dates taken into account) | yes | yes | no | no | no | no | no | no | no | no | no | no | no
Engie electrabel | DOEL 4 | NU | Nuclear | 1039 | No - based on the law (official closure dates taken into account) | yes | yes | yes | yes | yes | no | no | no | no | no | no | no | no
Engie electrabel | DROGENBOS GT1 | CCGT-GT | Gas | 150 | Yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Engie electrabel | DROGENBOS GT2 | CCGT-GT | Gas | 150 | Yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Engie electrabel | DROGENBOS ST | CCGT-ST | Gas | 160 | Yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Euro-silo | Euro-Silo | CHP | Gas | 12.9 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Green Power | Greenpower Oostende | CHP | Waste | 20 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Luminus | EDF Luminus Ham GT31 | GT | Gas | 58 | Yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Luminus | EDF Luminus Ham GT32 | GT | Gas | 58 | Yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Luminus | EDF Luminus Ham STEG | CCGT | Gas | 39 | Yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Engie electrabel | HERDERSBRUG GT1 | CCGT-GT | Gas | 157 | Yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Engie electrabel | HERDERSBRUG GT2 | CCGT-GT | Gas | 156.3 | Yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Engie electrabel | HERDERSBRUG ST | CCGT-ST | Gas | 167 | Yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
IPALLE | Ipalle Thumaide | IS | Waste | 34 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Indaver | Beveren 3 Indaver | IS | Waste | 24 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
INEOS | INESCO GT1 | CHP | Gas | 44.8 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
INEOS | INESCO GT2 | CHP | Gas | 44.8 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
INEOS | INESCO ST | CHP | Gas | 48.5 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
INTRADEL | Intradel Herstal IS | IS | Waste | 32 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
IVBO | IVBO | IS | Waste | 16 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Luminus | IZEGEM | CHP | Gas | 20 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Inovyn | Jemeppe-sur-Sambre GT1 | CHP | Gas | 48 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Inovyn | Jemeppe-sur-Sambre GT2 | CHP | Gas | 48 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Inovyn | Jemeppe-sur-Sambre ST | CHP | Gas | 10 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Engie electrabel | Sappi Lanaken GT | CHP | Gas | 43 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
STORA | STORA LANGERBRUGGE WKK1 | CHP | Biomass | 10 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
STORA | STORA LANGERBRUGGE WKK2 | CHP | Biomass | 40 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Lillo Energy | Lillo Degussa GT1 | CHP | Gas | 43 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Lillo Energy | Lillo Degussa GT2 | CHP | Gas | 32 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Lillo Energy | Lillo Degussa ST | CHP | Gas | 10 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Direct Energie | Marcinelle Energie TGV | CCGT | Gas | 413 | Yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Engie electrabel | Oorderen Bayer | CHP | Gas | 43 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Engie electrabel | Monsanto Lillo WKK EBL | CHP | Gas | 43 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Luminus | EDF Luminus Ringvaart STEG | CCGT | Gas | 385 | Yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Engie electrabel | RODENHUIZE 4 | CL | Biomass | 205 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Engie electrabel | SAINT-GHISLAIN STEG | CCGT | Gas | 350 | Yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
EXXONMOBIL | Scheldelaan Exxonmobil | CHP | Gas | 140 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Luminus | EDF Luminus Seraing GT1 | CCGT-GT | Gas | 150 | Yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Luminus | EDF Luminus Seraing GT2 | CCGT-GT | Gas | 150 | Yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Luminus | EDF Luminus Seraing TGV | CCGT-ST | Gas | 170 | Yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
TAMINCO | TAMINCO Gent WKK | CHP | Gas | 6.3 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Engie electrabel | TIHANGE 1N | NU | Nuclear | 481 | No - based on the law (official closure dates taken into account) | yes | yes | yes | yes | yes | no | no | no | no | no | no | no | no
Engie electrabel | TIHANGE 1S | NU | Nuclear | 481 | No - based on the law (official closure dates taken into account) | yes | yes | yes | yes | yes | no | no | no | no | no | no | no | no
Engie electrabel | TIHANGE 2 | NU | Nuclear | 1008 | No - based on the law (official closure dates taken into account) | yes | yes | yes | no | no | no | no | no | no | no | no | no | no
Engie electrabel | TIHANGE 3 | NU | Nuclear | 1038 | No - based on the law (official closure dates taken into account) | yes | yes | yes | yes | yes | no | no | no | no | no | no | no | no
T-Power | T-Power | CCGT | Gas | 425 | Yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Engie electrabel | Vilvoorde GT | CCGT-GT | Gas | 255 | Yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Engie electrabel | Vilvoorde ST | CCGT-ST | Gas | 121 | - | bar: Situation at end of the given year - considered as available for the EVA/market 2020 to Situation at end of the given year - considered as available for the EVA/market 2032
TOTAL | Wilmarsdonk Total GT1 | CHP | Gas | 43 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
TOTAL | Wilmarsdonk Total GT2 | CHP | Gas | 43 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
TOTAL | Wilmarsdonk Total GT3 | CHP | Gas | 43 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Zandvliet Power NV | Zandvliet Power | CCGT | Gas | 386.2 | Yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Engie electrabel | Zedelgem TJ | TJ | Oil | 18 | Yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Engie electrabel | Fluxys LNG Zeebrugge WKK | CHP | Gas | 40 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Engie electrabel | Zeebrugge TJ | TJ | Oil | 18 | Yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Engie electrabel | Zelzate 2 Knippegroen | CCGT | Gas | 305 | Yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Engie electrabel | Zelzate TJ | TJ | Oil | 18 | Yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Engie electrabel | Zwijndrecht Lanxess GT | CHP | Gas | 43 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Engie electrabel | Zwijndrecht Lanxess ST | CHP | Gas | 15 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Engie electrabel | ISVAG | IS | Waste | 12 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Engie electrabel | NOORDSCHOTE TJ | TJ | Oil | 18 | Yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Engie electrabel | SCHAERBEEK SIOMAB ST1 | IS | Waste | 15 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Engie electrabel | SCHAERBEEK SIOMAB ST2 | IS | Waste | 15 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Engie electrabel | SCHAERBEEK SIOMAB ST3 | IS | Waste | 15 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Biopower | Biomassa Oostende | IS | Biomass | 18 | No, unless elements that the unit is at risk or support mechanism to be ended | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Engie electrabel | TURBOJET VOLTA | TJ | Oil | 18 | Yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Borealis | Borealis Kallo Cogen GT_ST | CHP | Gas | 32 | No, unless elements that the unit is at risk or support mechanism to be ended | no | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Indaver | E-wood | IS | Waste | 22 | No, unless elements that the unit is at risk or support mechanism to be ended | no | no | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes
Legend Unit-Type
CCGT | Combined Cycle
CCGT-GT | Combined Cycle - Gas Turbine
CCGT-ST | Combined Cycle - Steam Turbine
CL | Classic
GT | Gas Turbine
ST | Steam Turbine
IS | Incineration Station
NU | Nuclear
TJ | TurboJet
CHP | Cogeneration Unit

## 1.2. Renewable and non-CIPU
1.2. Evolution of renewable energy sources and non-CIPU thermal units
Generation capacity at the end of the mentioned year [MW]
Generation type |  | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
| Wind | 3779 | 5042 | 5234 | 5425 | 5617 | 5808 | 6000 | 6931 | 7161 | 8439 | 8669 | 8900 | 9131 | 9361
| Wind onshore | 2223 | 2789 | 2981 | 3172 | 3364 | 3555 | 3747 | 3978 | 4208 | 4439 | 4669 | 4900 | 5131 | 5361
| Wind offshore | 1556 | 2253 | 2253 | 2253 | 2253 | 2253 | 2253 | 2953 | 2953 | 4000 | 4000 | 4000 | 4000 | 4000
| Photovoltaics | 4550 | 5254.149 | 5803.3192 | 6352.4894 | 6901.6596 | 7450.8298 | 8000 | 8600 | 9200 | 9800 | 10400 | 11000 | 11600 | 12200
| Hydro RoR | 117 | 117 | 121 | 125 | 129 | 133 | 137 | 139.8 | 142.6 | 145.4 | 148.2 | 151 | 153.8 | 156.6
| Gas CHP - non-CIPU | 1206 | 1297 | 1379 | 1379 | 1379 | 1379 | 1379 | 1379 | 1379 | 1379 | 1379 | 1379 | 1379 | 1379
| Biomass - non-CIPU | 446 | 503.2 | 503 | 503 | 503 | 503 | 503 | 503 | 503 | 503 | 503 | 503 | 503 | 503
| Waste - non-CIPU | 51 | 46 | 46 | 46 | 46 | 46 | 46 | 46 | 46 | 46 | 46 | 46 | 46 | 46
Sources
The first 3 years of data are based on the expected evolution based on the input from the regions and the best estimate in offshore capacity evolution.
For solar and wind capacity, the data for 2025 and 2030 are taken from the NECP scenario WAM (with additional measures) (see Picture 1). In addition ,the government agreement (see Picture 2) was followed for the increase foreseen in offshore capacity. A linear interpolation was used between the years provided in the NECP to derive yearly values. After 2030, the same growh rate for PV and wind onshore capacity was applied. Offshore capacity was kept constant beyond 2030.
For Biofuel non CIPU the capacities from the Elia PISA database and are kept constant over the time. No reduction was applied as indicated in the NECP-WAM scenario.
For Waste non CIPU the capacities from the Elia PISA database are consulted and deemed to remain constant.
Picture 1 - Belgian National Energie and Climate Plan (NECP)
Picture 2 - New federal government agreement

## 1.3. Storage
1.3. Storage
1.3.1. Pumped-storage
Voulme at the end of the mentioned year[MW]
|  |  | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
| Capacity [MW] | Pumped-storage | 1224 | 1224 | 1224 | 1224 | 1224 | 1224 | 1224 | 1224 | 1224 | 1224 | 1224 | 1224 | 1224 | 1224
| Reservoir volume [MWh] | Storage reservoir derating (ancillary services) [MWh] | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500
|  | Available storage for economical dispatch | 5300 | 5300 | 5300 | 5300 | 5300 | 5300 | 5300 | 5300 | 5300 | 5300 | 5300 | 5300 | 5300 | 5300
1.3.2. Other storage facilities
a) Definition in the ERAA methodology regarding batteries:
In-the-market batteries, which are large-scale battery capacities that are traded in day-ahead and intraday markets. In-the-market batteries shall be modelled similarly to pumped-hydro storage and shall be subject to the following constraints: maximum power, maximum energy storage, state of charge, charging/discharging efficiency; Out-of-market batteries, which represent small-scale batteries typically managed behind the meter. Out-of-market batteries shall be modelled as peak-shaving units based on predefined peak-reduction ratios, which are a direct input to the demand prediction process
Three categories are considered for "batteries" in this study: large scale batteries, small scale batteries and Vehicle-to-Grid (V2G).
The small scale batteries are assumed to be managed behind the meter and are considered for this reason in the "out-of-market" category.
The large scale batteries are assumed to participate to the electricity market and are considered for this reason in "in-the-market" category.
The capacity for V2G is shared between "in-the-market" and "out-of-market" categories as a part was assumed reacting to market prices and another to local behind the meter optimization. This share evolves with time as described in the table below.
b) Assumptions:
Large scale storage estimations are based on projects that are at least under study and known by Elia for short-term (up to 2023)
Small scale storage estimations are based on the assumption that each year 0.5% of the PV installations add a battery capacity of the size of the PV installation (with 3 hours of storage)
V2G are electric vehicles that allow bi-directional (dis)charging when connected to a bi-directional charger.
In order to estimate the amount of V2G capacity (the battery capacity that would be connected permanently to the grid and that would allow bi-directional charging), we assumed that:
- a certain amount of new EV registrations are capable of bi-directional (dis)charge and that are connected permanently to a bi-directional charger. we assume this to be 1% of new EV registrations in 2021 to 10% in 2030.
- In order to calculate the amount of storage (MWh) and capacity (kW), a charger of 7kW and 4 hours storage was assumed.
From this volume and capacity of storage, it was assumed that in 2021, 1% of the V2G amount is reacting to electricity prices. The other 99% is considered as ‘out-of-market’ (is therefore taken into account in the consumption profile following the ERAA methodology). The percentage of ‘in-the-market’ is assumed to evolve up to 50% in 2030.
The evolution of total capacity for other storage facilities is assumed to reach the 2030 target from Energy Pact.
Note that "in-the-market" batteries will be considered in the EVA while "out-of-market" batteries will not be considered in the EVA.
Capacity and volume of storage at the end of the mentioned year[MW] or [MWh]
|  |  | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
| Total capacity [MW] |  | 25.5 | 25.5 | 103.1 | 164.1 | 278.9 | 441.5 | 589.6 | 756.7 | 943 | 1148.4 | 1372.9 | 1600 | 1600 | 1600
| Capacity [MW] | Large scale storage ("in-the-market") | 25.5 | 25.5 | 72 | 97 | 171 | 288 | 382 | 411.8 | 457.8 | 519.8 | 597.9 | 675.7 | 675.7 | 675.7
|  | Small scale storage ("out-of-market") | 0 | 0 | 29 | 60.8 | 95.3 | 132.5 | 172.5 | 215.5 | 261.5 | 310.5 | 362.5 | 417.5 | 417.5 | 417.5
|  | Vehicule-to-Grid (V2G) | 0 | 0 | 2.1 | 6.3 | 12.6 | 21 | 35 | 129.4 | 223.7 | 318.1 | 412.4 | 506.8 | 506.8 | 506.8
|  | V2G "in-the-market" | 0 | 0 | 0 | 0.1 | 0.4 | 0.8 | 1.8 | 18.1 | 51.5 | 101.8 | 169.1 | 253.4 | 253.4 | 253.4
|  | V2G "out-of-market" | 0 | 0 | 2.1 | 6.2 | 12.2 | 20.2 | 33.3 | 111.2 | 172.3 | 216.3 | 243.3 | 253.4 | 253.4 | 253.4
| Reservoir volume [MWh] | Large scale storage ("in-the-market") | 25.5 | 25.5 | 72 | 97 | 171 | 288 | 382 | 411.8 | 457.8 | 519.8 | 597.9 | 675.7 | 675.7 | 675.7
| Reservoir volume [MWh] | Small scale storage ("out-of-market") | 0 | 0 | 87 | 182.3 | 285.9 | 397.6 | 517.6 | 646.6 | 784.6 | 931.6 | 1087.6 | 1252.6 | 1252.6 | 1252.6
|  | Vehicule-to-grid | 0 | 0 | 8.4 | 25.2 | 50.4 | 84 | 140 | 517.4 | 894.9 | 1272.3 | 1649.8 | 2027.2 | 2027.2 | 2027.2
|  | V2G "in-the-market" | 0 | 0 | 0.1 | 0.5 | 1.5 | 3.4 | 7 | 72.4 | 205.8 | 407.1 | 676.4 | 1013.6 | 1013.6 | 1013.6
|  | V2G "out-of-market" | 0 | 0 | 8.3 | 24.7 | 48.9 | 80.6 | 133 | 445 | 689.1 | 865.2 | 973.4 | 1013.6 | 1013.6 | 1013.6

## 2.1. Tot. elec. demand
2.1. Total electricity consumption
The total electricity demand for Belgium is based on the tool developped by Climact in the scope of the strategic reserve study where the methodology used is described in the following report:
https://www.elia.be/-/media/project/elia/elia-site/public-consultations/2020/20200603_total-electricity-demand-forecasting_en.pdf
The macro-economic input data used in the tool are based on the report published by Federal Plan Bureau on June 2020:
https://www.plan.be/publications/publication-2009-fr-perspectives_economiques_2020_2025_version_de_juin_2020
The assumptions for electrification are based on the final National Energy and Climact Plan following the two scenarios proposed by the regional and federal authorities : 'With Additional Measures" (WAM) and "With Expected Measures" (WEM), more info on the following website:
https://climat.be/politique-climatique/belge/nationale/plan-national-energie-climat-2021-2030
Further details on data up to 2025 can be consulted/downloaded on the following link:
https://app.powerbi.com/view?r=eyJrIjoiNTdkMzUzNmMtMGIwMy00YTJlLThhZDAtMTc0ZTE1OTU4ZjdlIiwidCI6ImUxZDBhZDNjLTk0MmItNDkyOC05MDgyLTU5NzgxMWRkYTAwZiIsImMiOjh9&pageName=ReportSectionfe23cb0f5c5771a5168d
| Year | Historical* normalised total demand [TWh] | Normalized total demand with WEM electrification [TWh] | Normalized total demand with WAM electrification [TWh] | Normalized total demand - CENTRAL [TWh]
historical | 2019 | 85.7 | 85.7 | 85.7 | 85.7
| 2020 |  | 82 | 82.5 | 82
| 2021 |  | 85 | 85.7 | 85
| 2022 |  | 86.8 | 87.6 | 86.8
| 2023 |  | 87.5 | 88.6 | 87.5
| 2024 |  | 88.2 | 89.5 | 88.2
| 2025 |  | 88.9 | 90.3 | 88.9
| 2026 |  | 89.8 | 91.4 | 90.2
| 2027 |  | 90.7 | 92.5 | 91.5
| 2028 |  | 91.6 | 93.5 | 92.8
| 2029 |  | 92.3 | 94.4 | 94.1
| 2030 |  | 93 | 95.3 | 95.3
| 2031 |  | 93.4 | 95.9 | 95.9
| 2032 |  | 93.7 | 96.5 | 96.5
* The historical total demand is based on the current estimation of Elia for the total load (without Twinerg/Sotel and including losses) on which normalisation was applied
2.1.1. Electrification of the transport sector
The equivalent number of electric vehicles (EVs) assumed in the final NECP for WEM and WAM scenarios (in Mio) are estimated by assuming 17KWh/100km and 15.000 km/year.
| Year |  | Estimated # EV in WEM | Estimated # EV in WAM | Estimated # EV in CENTRAL
| 2020 |  | 0.04 | 0.22 | 0.04
| 2021 |  | 0.07 | 0.32 | 0.07
| 2022 |  | 0.1 | 0.42 | 0.1
| 2023 |  | 0.13 | 0.52 | 0.13
| 2024 |  | 0.16 | 0.62 | 0.16
| 2025 |  | 0.2 | 0.72 | 0.2
| 2026 |  | 0.27 | 0.87 | 0.45
| 2027 |  | 0.35 | 1.01 | 0.7
| 2028 |  | 0.42 | 1.16 | 0.95
| 2029 |  | 0.49 | 1.3 | 1.2
| 2030 |  | 0.57 | 1.44 | 1.44
| 2031 |  | 0.65 | 1.6 | 1.6
| 2032 |  | 0.75 | 1.78 | 1.78
2.1.2. Electrification of heating
The equivalent penetration of heat pumps (HPs) assumed in the final NECP for WEM and WAM scenarios.
| Year |  | Estimated penetration HP in WEM | Estimated penetration HP in WAM | Estimated penetration HP in CENTRAL
| 2020 |  | 0.74% | 0.77% | 0.74%
| 2021 |  | 0.88% | 0.98% | 0.88%
| 2022 |  | 1.01% | 1.19% | 1.01%
| 2023 |  | 1.15% | 1.41% | 1.15%
| 2024 |  | 1.29% | 1.62% | 1.29%
| 2025 |  | 1.42% | 1.84% | 1.42%
| 2026 |  | 1.59% | 2.19% | 1.86%
| 2027 |  | 1.76% | 2.55% | 2.3%
| 2028 |  | 1.93% | 2.9% | 2.74%
| 2029 |  | 2.1% | 3.26% | 3.18%
| 2030 |  | 2.27% | 3.62% | 3.62%
| 2031 |  | 2.45% | 4.01% | 4.01%
| 2032 |  | 2.65% | 4.45% | 4.45%

## 2.2. Demand Side Response
2.2. Demand-Side Response
a) Definition in the ERAA methodology regarding Demand-Side Response (DSR):
'explicit demand-side response’ (explicit DSR) means the change of electric demand pursuant to an accepted offer to sell demand reduction or increase in an organised market, either directly or through aggregation. Explicit DSR may consist of either foregone or time-shifted demand;
‘implicit demand-side response’ (implicit DSR) means the change of demand by final customers from their normal or current consumption patterns, in response to time-variable electricity prices or incentive payments. Implicit DSR can either be self-directed or directed by an energy management service provider;
The figures below include the explicit and implicit Demand-Side Response
Demand-Side Response volume per year
Voulme at the end of the mentioned year[MW]
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
Total shedding capacity (including the ones participating to the ancillary services) | 1448 | 1521 | 1599 | 1682 | 1772 | 1863 | 1953 | 2044 | 2135 | 2226 | 2316 | 2407 | 2407 | 2407
Max use of 1 hour | 104 | 111 | 119 | 128 | 137 | 146 | 155 | 164 | 173 | 182 | 191 | 200 | 200 | 200
Max use of 2 hours | 364 | 390 | 417 | 446 | 478 | 510 | 541 | 573 | 605 | 637 | 668 | 700 | 700 | 700
Max use of 4 hours* | 511 | 518 | 526 | 535 | 544 | 553 | 562 | 571 | 580 | 589 | 598 | 607 | 607 | 607
Max use of 8 hours | 312 | 334 | 358 | 383 | 410 | 437 | 464 | 491 | 518 | 546 | 573 | 600 | 600 | 600
No limit | 156 | 167 | 179 | 191 | 205 | 218 | 232 | 246 | 259 | 273 | 286 | 300 | 300 | 300
* The volume for ancillary services is included in the "max use of 4 hours" category
Voulme at the end of the mentioned year [GWh/day in winter period]
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
Total shifting capacity [GWh/day in winter period] | 0 | 0 | 0.1 | 0.2 | 0.3 | 0.4 | 0.5 | 0.7 | 0.9 | 1.1 | 1.3 | 1.5 | 1.5 | 1.5
Note the aim is to consider DSR volumes as part of the EVA for new capacities (on top of the currently "installed" capacity).
Sources:
E-CUBE study
Energy Pact

## 3.1. Fuel and CO2 prices
3.1. Fuel and CO2 prices
Fuel and CO2 prices per year
Source: IEA - World Energy Outlook 2020 (WEO)
https://www.iea.org/topics/world-energy-outlook
Price in [€2019] | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | Source
Gas TTF [€/GJ] | 5.7 | 5.7 | 5.7 | 5.7 | 5.8 | 5.9 | 6.1 | 6.2 | 6.3 | 6.4 | 6.5 | WEO-stated policies
Coal ARA [€/GJ] | 1.9 | 2 | 2 | 2 | 2 | 2.1 | 2.1 | 2.1 | 2.2 | 2.2 | 2.1 | WEO-stated policies
Oil [€/GJ] | 9.7 | 9.9 | 10.1 | 10.3 | 10.5 | 10.6 | 10.8 | 10.9 | 11.1 | 11.2 | 11.3 | WEO-stated policies
CO2 EUA [€/tCO2] | 24.5356 | 26.4437 | 28.3519 | 30.26 | 31.328 | 32.396 | 33.464 | 34.532 | 35.6 | 36.668 | 37.736 | WEO-stated policies

## 3.2. Investment costs
3.2. Economic assumptions
All prices are assumed to be in €2019.
The values are chosen to reflect a large amount of sources consulted (see below in 'Sources'). Given the wide range found for several technologies, feel free to provide us with other values and sources if deemed relevant. The same prices will be used for all target years of the study.
A range around those values could be used for sensitivities if deemed relevant.
The industry wide reference WACC proposed for this study is 7%. In addition, as specified in the Economic viability metric methodology (see the other documents of the public consultation), a technology specific hurdle premium will be added.
Technologies part of the structural block |  | Applies to | CAPEX [€/kW] | FOM (including major overhauls) [€/kW/y] | Investment economic lifetime [years]
Existing (assumed no extension costs) | CCGT | Existing units <25 years | - | 30 | - | AFRY
| OCGT |  | - | 20 | - | AFRY
| CHP | All existing capacity | - | 60 | - | several sources consulted
| Turbojets | All existing capacity | - | 30 | - | AFRY
| Demand Response | All existing capacity in 2020 | - | 10 | - | DSM sources (see below)
| Pumped Storage | All existing capacity | - | 30 | - | AFRY
Existing (assuming extension costs needed) | CCGT | Existing units >25 years | 100 | 30 | 15 | AFRY for FOM and cost of Seraing extension found in the press
| OCGT |  | 80 | 40 | 15 | AFRY for FOM
New | Diesels | New capacity | 300 | 15 | 15 | several sources consulted
| Gas engines | New capacity | 400 | 15 | 15 | several sources consulted
| CCGT | >800 MW | 600 | 25 | 20 | FOM from AFRY + several sources consulted
|  | 400 < 800 MW | 750 | 30 | 20 | FOM from AFRY + several sources consulted
|  | < 400 MW | 850 | 30 | 20 | FOM from AFRY + several sources consulted
| OCGT | >100 MW | 400 | 20 | 20 | FOM from AFRY + several sources consulted
|  | <100 MW | 500 | 20 | 20 | FOM from AFRY + several sources consulted
| CHP | New capacity | 800 | 60 | 20 | several sources consulted
| Demand response | New capacity 0 < 500 MW | All costs included in the FOM | 20 | - | DSM sources (see below)
|  | New capacity 500 < 1000 MW |  | 40 | - | DSM sources (see below)
|  | New capacity 1000 < 1500 MW |  | 60 | - | DSM sources (see below)
|  | New capacity 1500 < 2000 MW |  | 80 | - | DSM sources (see below)
| Batteries/Storage | Large scale batteries (1h) | 100 | 10 | 10 | several sources consulted
|  | Enabling new V2G | 130 | 10 | 10 | several sources consulted
| Pumped Storage - new unit | New unit in Coo | 900 | 30 | 25 | Data found in press and AFRY for FOM
Renewables
RES | Wind onshore | New | 1000 | 50 | 15 | assumed in EnergyVille study
| Wind offshore | New (after 2 GW) | 2300 | 80 | 15 | assumed in EnergyVille study
| PV | New | 600 | 25 | 15 | assumed in EnergyVille study
| Biomass | New | 2000 | 80 | 20 | assumed in EnergyVille study
DSM: sources
https://www.ademe.fr/sites/default/files/assets/documents/effacement-consommation-electrique-france_2017-synthese.pdf
https://www.cre.fr/content/download/21610/275050
Other sources
https://www.energyville.be/sites/energyville/files/downloads/2020/20200918_fullpresentation_0.pdf
AFRY - peer review study presented to the TF CRM on 30/10/2020
Cost of life-time extension of Seraing (Trends Tendance article 27/08/14) with inflation
https://setis.ec.europa.eu/system/files/ETRI_2014.pdf
https://ec.europa.eu/energy/sites/ener/files/documents/2018_06_27_technology_pathways_-_finalreportmain2.pdf
https://www.semcommittee.com/sites/semc/files/media-files/SEM-18-156a%20Poyry%20Report%20-%20Cost%20of%20New%20Entrant%20Peaking%20Plant%20and%20Combined%20Cycle%20Plant%20in%20I-SEM.pdf
https://economie.fgov.be/sites/default/files/Files/Energy/Seuils-investissements-CREG-Feedback-PwC-20200207.pdf
https://www.rtbf.be/info/regions/liege/detail_un-troisieme-bassin-a-coo-ou-le-retour-d-une-arlesienne?id=9383349
Bloomberg (not public)
https://www.elia.be/-/media/project/elia/elia-site/public-consultations/2020/20200505_fichtner-report-cost-of-capacity-crm_en.pdf

## 3.3. Outages
3.3. Outages
3.3.1. Forced outage rates
For the generation technologies, these numbers have been calculated from the last 10 years available data (from 2010 up to and including 2019). These data come from the ENTSO-E transparency platform (ETP: https://transparency.entsoe.eu/) and from Elia’s internal database.
The public data from ENTSO-E Transparency Data is used for historical data when available (i.e. from 2015 up to and including 2019).
It is proposed to update these figures in Jan 2020 to include the latest available data and to retain the 2011-2020 time frame for the determintation of forced outage rates.
Category | Number of FO per year | Average forced outage rate over 2010-2019 | Average duration of forced outage rate over 2010-2019 [days]
Nuclear | 1.7 | 3.7% | 7 days (176 hours)
Classical | 6.5 | 8% | 3 days (80 hours)
CCGT | 5.5 | 9% | 3 days (62 hours)
GT | 4.2 | 9.6% | 3 days (62 hours)
TJ | 2.1 | 3.6% | 4 days (82 hours)
Waste | 1.6 | 1% | 2 days (49 hours)
CHP | 3.9 | 6.8% | 5 days (107 hours)
Pumped storage | 2.4 | 4.4% | 5 days (124 hours)
DC links | 2 | 6% | 7 days (168 hours)
3.3.2. Planned outages
The latest public information (REMIT) regarding the planned outages will be used
For years were no data are available in REMIT, the data from ENTSO-E will be used : https://www.entsoe.eu/outlooks/midterm/

## 3.4. Flex. charact.
3.4. Flexibility characteristics
| Parameters | [8 empty] | Maximum upward flexibility |  |  | Maximim downward flexibility |  |  | Energy Limit | Clarification, justifications and remarks
Parameter | Minimum up time | Minimum down time | Hot start up time | Warm start up time | Cold start up time | Transition time from "hot" to "warm" | Transition time from "warm" to "cold" | Min Stable power | Ramp Rate | Ramping flexibility limit | Fast flexibility limit | Slow flexibility limit | Ramping flexibility limit | Fast flexibility limit | Slow flexibility limit
Definition | Duration that a unit needs to remain in "on" status after the start of an activation | Duration that a unit needs to remain in "off" status after the end of an activation | Duration between the activation signal and attaining minimum stable power in "hot", "warm" or "cold" conditions |  |  | Duration that a unit goes from "hot" to "warm" status after the end of an activation | Duration that a unit goes from "warm" to "cold" status after the end of an activation | Minimum power output level when in "on" status | Minimum power variation in a time period | Maximum share of the installed capacity which can participate in the categories upward ramping, fast and slow flex (without accounting other constraints, e.g. ramp rate) |  |  | Maximum share of the installed capacity which can participate in the categories downward ramping, fast and slow flex (without accounting other constraints, e.g. ramp rate) |  |  | expressed in number of hours during which the plant can product at its maximum capacity
Unit | hours | hours | hours | hours | hours | hours | hours | % Pmax | %Pmax/min | %Pmax | %Pmax | %Pmax | %Pmax | %Pmax | %Pmax | hours
Nuclear
Interconnections (AC & DC) | [9 empty] | min(ATC import -Pnom import) | min(ATC import -Pnom import) | min(ATC import -Pnom import) | min(ATCexport - Pnom export) | min(ATCexport - Pnom export) | min(ATCexport - Pnom export) |  | Flexibility is constrained by the remaining import / export capacity after day-ahead. Additional constraints may be implemented on the availability of the cross-border energy service, particularly during high (reduced upward flexibility) / low price periods (reduced downward flexibility)
Renewable Generation
Wind offshore | [8 empty] | 100% |  |  |  |  | 65% Pnom | 65% Pom |  | Based on literature [1] and further constrained based on an analysis of day-ahead forecast errors
Wind onshore (only share CIPU) | [8 empty] | 100% |  |  |  |  | 88% Pnom | 88% Pnom |  | Based on literature [1] and further constrained based on an analysis of day-ahead forecast errors
Photovoltaics
Run-of-River Hydro
Biofuel (only share CIPU) | 8h | 8h | 3h | 5h | 7h | 12h | 72h | 40% | 3% |  |  |  | Pnom-Pmin (0% when "off") | Pnom-Pmin (0% when "off") | Pnom-Pmin (0% when "off") |  | Based on literature [2] and CHP recent steam turbine values
CCGT
new (to be commissioned) | 2h | 2h | 0.5h | 1.5h | 2h | 8h | 48h | 30% | 11% | Pmax-Pnom (0% when "off") | Pmax-Pnom (0% when "off") | Pmax-Pnom (100% when "off") | Pnom-Pmin (0% when "off") | Pnom-Pmin (0% when "off") | Pnom-Pmin (0% when "off") |  | Based on literature [3] and [4]
recent (commissioned after 2000) | 3h | 3h | 1h | 2h | 3h | 8h | 48h | 40% | 6% | Pmax-Pnom (0% when "off") | Pmax-Pnom (0% when "off") | Pmax-Pnom (100% when "off") | Pnom-Pmin (0% when "off") | Pnom-Pmin (0% when "off") | Pnom-Pmin (0% when "off")
old (commissioned before 2000) | 3h | 3h | 1.5h | 2,5h | 4h | 8h | 48h | 45% | 3% | Pmax-Pnom (0% when "off") | Pmax-Pnom (0% when "off") | Pmax-Pnom (100% when "off") | Pnom-Pmin (0% when "off") | Pnom-Pmin (0% when "off") | Pnom-Pmin (0% when "off")
OCGT
new | 1h | 1h | 0.16h | 0.16h | 0.16h | 2h | 3h | 20% | 15% | Pmax-Pnom (0% when "off") | Pmax-Pnom (100% when "off") | Pmax-Pnom (100% when "off") | Pnom-Pmin (0% when "off") | Pnom-Pmin (0% when "off") | Pnom-Pmin (0% when "off") |  | Based on literature [3] and [4]
existing | 1h | 1h | 0.16h | 0.16h | 0.16h | 2h | 3h | 30% | 12% | Pmax-Pnom (0% when "off") | Pmax-Pnom (100% when "off") | Pmax-Pnom (100% when "off") | Pnom-Pmin (0% when "off") | Pnom-Pmin (0% when "off") | Pnom-Pmin (0% when "off")
CHP (GAS TURBINE) | 4h | 4h | 1h | 1h | 4h | 2 h | 3 h | 50% | 10% |  |  |  | Pnom-Pmin | Pnom-Pmin | Pnom-Pmin | 8 hours | Based on literature [3] and CHP recent steam turbine values (+ [5] for energy limit) + input COGEN
CHP (CCGT) | 3h | 3h | 1h | 2h | 3h | 8h | 48h | 40% | 6% | Pmax-Pnom | Pmax-Pnom | Pmax-Pnom | Pnom-Pmin | Pnom-Pmin | Pnom-Pmin |  | Based on literature [3] and CHP recent steam turbine values (+ [5] for energy limit) + input COGEN
Pumped Storage | [8 empty] | 100% | Pmax- Pnom (0% when "off") | Pmax - Pnom | Pmax - Pnom | Pnom- Pmax- (0% when "off") | Pnom - Pmax- | Pnom - Pmax- | 4,5 hours | Aggregation of PHS-sites. Based on literature review [6; 7] and Elia's internal information
Demand Response
CAT-4h | [8 empty] | 100% | min (10% Pmax ; Pmax - Pnom) | min (40% Pmax ; Pmax - Pnom) | Pmax - Pnom |  |  |  | 1 - no limit | Based on E-Cube study and and Elia's estimation [9]
New technologies
Small scale storage | [8 empty] | 100% | Pmax-Pnom | Pmax-Pnom | Pmax-Pnom | Pnom - Pmax- | Pnom - Pmax- | Pnom - Pmax- | 3 hours | Based on literature review [9;10;11], Elia's best estimate
Large scale storage | [8 empty] | 100% | Pmax-Pnom | Pmax-Pnom | Pmax-Pnom | Pnom - Pmax- | Pnom - Pmax- | Pnom - Pmax- | 1 hours
Consumption shifting | [8 empty] | 100% | Pmax-Pnom | Pmax-Pnom | Pmax-Pnom
Vehicle to Grid (V2G) | [8 empty] | 100% | Pmax-Pnom | Pmax-Pnom | Pmax-Pnom | Pnom - Pmax- | Pnom - Pmax- | Pnom - Pmax- | 3 hours
Diesel + Turbojets | 0 h | 0.10 h | 0.05 h | 0.05 h | 0.05 h | 0 | 0 | 30% | 100% | Pmax-Pnom (0% when "off") | Pmax-Pnom (100% when "off") | Pmax-Pnom (100% when "off") | Pnom-Pmin (0% when "off") | Pnom-Pmin (0% when "off") | Pnom-Pmin (0% when "off") |  | Based on Internal Combustion Engines [12]
Terminology
Pmax | Maximum injected power of the unit (MW)
Pmax- | Maximum absorbed power of the unit (MW), i.e. negative value
Pnom | Day-Ahead Scheduled power of the unit (MW), i.e. positive or negative value
Pmin | Minimum stable power (MW)
ATCexport | Maximum available export capacity (MW)
ATCimport | Maximum available import capacity (MW)
ramping flex | Capacity which can be regulated continuously up- or downward in a timeframe of one minute
fast flex | Capacity which can be regulated up- or downward in a time frame of 15 minutes
slow flew | Capacity which can be regulated up- or downward in a time frame of 5 hours
List of references
1 | Vestas | Wind Energy and Ancillary Services | [9 empty] | http://www.anev.org/wp-content/uploads/2018/02/180216-Wind-Energy-Ancillary-Services-ANEV-Italy_Vestas.pdf
2 | Dotzauer et al. | How to measure flexibility – Performance indicators for demand driven power generation from biogas plants | [9 empty] | https://www.sciencedirect.com/science/article/pii/S0960148118312059#sec3
3 | ENTSO-E | MAF Data | [9 empty] | https://www.entsoe.eu/Documents/SDC%20documents/MAF/MAF_2018_Dataset.xlsx
4 | Agora | Flexibility in thermal power plants, with a focus on existing coal-fired power plants | [9 empty] | https://www.agora-energiewende.de/fileadmin2/Projekte/2017/Flexibility_in_thermal_plants/115_flexibility-report-WEB.pdf
5 | Danish Energy Agency | Flexibility in the Power System - Danish and European experiences | [9 empty] | https://ens.dk/sites/ens.dk/files/Globalcooperation/flexibility_in_the_power_system_v23-lri.pdf
6 | Deloitte | Assessing the economic conditions of Belgian pumped-hydroelectric storage: comparative review of profitability drivers in Europe and evaluation of the current situation | [9 empty] | https://www.creg.be/sites/default/files/assets/Consult/2018/1718/RA1718-Annex2.7.pdf
7 | e-Storage | Potential, Economic and Environmental Value of Large-Scale Energy Storage in Europe | [9 empty] | http://www.estorage-project.eu/wp-content/uploads/2013/06/eStorage-D3.2-Value-of-storage.pdf
8 | E-Cube Strategy Consultants | Market Response study 2017 – 2nd phase report | [9 empty] | https://www.elia.be/~/media/files/Elia/Products-and-services/Strategic-Reserve/Elia_Market%20Response_Implementation%20report.pdf
9 | Gils, H. | Assessment of the theoretical demand response potential in Europe | [9 empty] | https://ac.els-cdn.com/S0360544214001534/1-s2.0-S0360544214001534-main.pdf?_tid=d4fce1a0-6f34-465d-9c4f-523e95750e30&acdnat=1546943860_20cd8cd6d9355dd840de7e4fd94255bb
10 | Le Baut et al. | Characterization of flexibility resources and distribution networks | [9 empty] | http://smartnet-project.eu/wp-content/uploads/2017/05/D1.2_20170522_V1.1.pdf
11 | Brouwer et al. | Least-cost options for integrating intermittent renewables in low-carbon power systems | [9 empty] | https://ac.els-cdn.com/S0306261915012167/1-s2.0-S0306261915012167-main.pdf?_tid=52eeb980-f5b2-43f0-8d14-83cd9f435f58&acdnat=1546889876_5b2bf335e121403ca7dc9296eaf88b19
12 | Wartisla | Reciprocating engines as a source reciprocating engines as a source of flexibility in a power system | [9 empty] | https://www.cire.pl/pliki/2/2018/13___niewinski.pdf

## 4.1. Flow based domains
4.1. Flow-based domains
Elia has developed a flow-based framework which does not rely on historical domains, but instead aims to mimic the operational flow-based capacity calculation workflow.
The framework is based on a zonal model of Europe, the grid model used is based on the TYNDP 2020.
The flow-based perimeter includes the CORE* region, with 13-dimensional domains.
Using a framework allows hence to consult on the parameters rather than domains.
The flow-based domains will be illustrated in the final report.
For more information on flow-based please refer to the public consultation on methodology:
https://www.elia.be/en/public-consultation/20200603_public-consultation-on-the-methodology-of-volumes-of-strategic-reserve-for-winter-2021-2022
* note that the framework has been improved to be able to cope with CORE instead of CORE-MOD and to include 'advanced hybrid coupling' treatment of external links to the flow-based zone.
4.1.1. Main parameters
Market Parameters | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | Comments
Flow-based perimeter | CORE
Bidding zones | AS IS
minRAM | See table below
Treatment of external flows | Standard Hybrid Coupling (SHC) |  |  | Advanced Hybrid Coupling (AHC)
External constraints | BE: -7500 |  | No external constraints
NL: -6500
NL: +6500
Use of PST** in capacity calculation | For Belgium: 1/2 For other: 1/3 | [10 empty] | ** All get a setpoint based on the nodal flow estimation (FE). In capacity calculation only the currently known PST’s are selected (BC). In capacity allocation none participate (MC)
Use of HVDC in flow-based capacity allocation | Only ALEGrO
4.1.2. MinRAM trajectories
Country | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | Justification
Netherlands | 45 | 53 | 61.5 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | Action plan for most constraining XB CNEC
Belgium* | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | *With the application of a derogation
Germany | 40.8 | 50.5 | 60.25 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | Action plan
France | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
Slovenia | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
Hungary | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
Kroatia | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
Romania | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
Czechia | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
Austria | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
Slovakia | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
Poland | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70

## 5.1. Data for other countries
5.1. Data for other countries
The assumption for all European countries will be based on :
- Mid-Adequacy Forecast 2020 (which are based on latest NECPs for the different countries) - the study should be published by end of the year by ENTSO-E
- PLEF Generation Adequacy study
- Ten-Year Network Development Plan 2020
- Latest available market information for all EU countries if any. Those will be detailed in the final report
Any other sources or relevant information are more than welcome.