## Introduction
2020-12-07
Consultation report
on Elia’s findings regarding the design of a scarcity pricing mechanism for implementation in Belgium
Public Consultation: 30 September 2020 - 30 October 2020
Elia organized a public consultation on a study containing Elia’s findings regarding the design of a scarcity pricing mechanism for implementation in Belgium. This study has been performed in the context of the 2020 balancing incentive on scarcity pricing.
During the public consultation, ELIA has received feedback from 4 market parties :
· Febeliec
· FEBEG
· EFET
· Nemo Link Limited
Via the consultation report, Elia provides answers to each received comment on the study containing Elia's findings regarding the design of a scarcity pricing mechanism for implementation in Belgium. Elia has integrated the received feedback towards its final report, submitted to CREG on 7 December 2020.
In order to exhaustively list all received questions and comments, and provide an answer to each one of them, it has been chosen to submit the consultation report via an excel file. The received feedback is categorized into four main subjects - one per sheet - , based on wheter it is feedback: 1) On scarcity pricing in general 2) On Elia's analysis of the CORE study 3) On the Omega proposal 4) On the preliminary implementation plan
In has been indicated in the answers when the received feedback has resulted in adaptations or additions towards the final report, submitted by Elia to CREG on 7 December 2020.

## On scarcity pricing in general
Stakeholder | Received feedback | Elia's answer
Febeg | Overall and for the reasons explained here below, FEBEG does not see the need for implementing a scarcity pricing mechanism on short notice. Scarcity pricing might have an added value and bring an additional source of income for short term flexibility in some circumstances. However, this source of income remains very risky and hard to predict; it does not bring the long-term visibility required for the substantial investment decisions that should be taken now in Belgium. FEBEG believes that any approach should be very carefully considered (especially in the European framework). Implementing any type of scarcity pricing mechanism in the short term which is not justified by any system need would only result in more risks for Market Parties and therefore be very problematic. And as stated many times before by FEBEG, additional complexities would raise barriers to entry in an already very complex market. | Elia takes note of Febeg's viewpoint regarding the lack of a system need justifying the need for implementing a scarcity pricing mechanism on short notice. Moreover, as pointed out in its report and explicitly considered as an open question, Elia agrees that any scarcity pricing implementation decision should build upon a positive answer on the question whether such mechanism is generally desirable, which goes beyond the mere feasibility question.
Febeg | FEBEG would like to stress that if a scarcity pricing scheme would be developed in Belgium, a few key principles should be duly respected in any case: 1. An enhanced market-parties involvement, given the many rules to be adapted before a proper implementation of the scarcity pricing is possible. The impact on BSP and BRP will be very important. It is therefore crucial to involve the market parties sufficiently soon in the design and implementation process. 2. Full transparency and replicability of the inputs, applied formula and outputs: Market parties should be able to anticipate any activation of the “scarcity patch” and estimate its effect on the imbalance price. 3. Real scarcity cost and level playing field: the formula should reflect the cost of scarcity in real time, be considered in a regional setting to avoid market distortions and competitiveness issues for Belgian consumers (households and industries). | Elia takes note of Febeg's request - if a scarcity pricing mechanism would be developed in Belgium - for extensive market party involvement, to focus on transparency and replicability of the scarcity pricing mechanism and for the scarcity pricing formula to accurately reflect the cost of (near-) scarcity. In general, Elia could support such principles and Elia will integrate these elements in the preliminary implementation plan presented in its final scarcity pricing report.
Febeg | Also, and this will be elaborated in more detail in the following chapters, FEBEG has consistently argued that, despite the recognition that well-functioning short-term markets improve economic signals for flexible capacity, we are convinced that they do not provide significant and sufficient investment signals required to ensure long-term adequacy. It is important to underline that one should clearly distinguish short-term market improvements (scarcity pricing) on one hand and long-term aspects (adequacy) on the other hand. Moreover, both should be evaluated in parallel and NOT discussed sequentially. | Elia takes note of Febeg's reflection that scarcity pricing is rather a short-term market improvement, as opposed to long-term aspects such as adequacy, and refers to section 2.4 of its preliminary scarcity pricing report where this aspect is further discussed.
Febeg | We would firstly like to clarify that we agree on the following elements regarding scarcity pricing mechanisms: • Scarcity pricing - as proposed by the CREG - can strengthen the incentives for market participants to be available in near scarcity situations, which could result in more investments in “short term flexibility” assets. • The general objective of any scarcity pricing mechanism, as pointed out by Cramton (2017), is to produce a price that reflects the value of energy during scarcity • With scarcity pricing a generator can offer at marginal cost, be efficiently dispatched in real time, and still receive a price that reflects its value in scarcity • During (near-) scarcity conditions, the market clearing price is determined at a level significantly above the bid price of the most expensive generator running. Hence, there would be no need for supra-competitive supply side bids that can be subject to market power mitigation measures • Scarcity pricing ensures that the real-time prices reflect the value of capacity scarcity by explicitly expressing a system operator’s real-time willingness-to-pay for operating reserves, as such it is rather a flexibility tool providing investment signals especially to highly-flexible (i.e. reaction time = 15mins) resources. This is also recognised by CORE as they state “Scarcity pricing is not a panacea. The mechanism is designed to reward short-run flexible capacity.” • Scarcity pricing presents a solution to ensure that prices can rise towards the Value of Loss of Load under specifically specified scarcity conditions. However, scarcity pricing does not eliminate other aspects and market failures that are today inherent to the energy-only market. • In a price-based scarcity pricing mechanism, the scarcity-reflective real time price contributes to the revenues of the available resources, and is thereby expected to provide a signal for investment leading to a long-term capacity equilibrium (however) not necessarily corresponding to a predefined reliability standard and/or ensuring it during each considered period. | Elia takes note of Febeg's agreement on several aspects that are discussed throughout chapter 2 of Elia's preliminary report.
Febeg | Firstly, before amending/adapting existing regulations, which is in any case a costly and timeconsuming endeavour, a clear NEED should be present. The need for a scarcity pricing mechanism, despite the benefits outlined above, is however not so clear (currently, in Belgium). Elia concludes that in the years leading up to 2030 sufficient flexible resources will be available. Hence, there currently appears to be no need to provide further investment incentives to highly flexible generation capacity (as solving the adequacy issue will result in sufficient flexibility) Secondly, as mentioned before by FEBEG, if the scarcity pricing aims to further improve market signals for flexible capacity, it should be noted that multiple measures are currently already being implemented to improve such signalling, such as Pay-as-Cleared/Marginal Pricing for the remuneration of activated balancing energy bids and improved Intraday markets, as well as improving market access for Demand Response. On top of this, the perceived benefits of scarcity pricing could be seriously over-estimated. As mentioned before by FEBEG, the lack of a real-time reserve market significantly reduces the impact scarcity pricing can have in a Belgian – and even European – context. As such, it is highly questionable whether scarcity pricing can realistically become an effective measure to further enhance the measures already currently under implementation. | Elia takes note of Febeg's comment regarding the lack of a need for implementing a scarcity pricing mechanism on short notice. Moreover, as explicitly pointed out by means of an open question in the report, Elia agrees that any scarcity pricing implementation decision should build upon a positive answer on the question whether such mechanism is generally desirable, which goes beyond the mere feasibility question. Moreover, Elia takes note of Febeg's recognition for other market design adaptations, which indeed and aside from any possible scarcity pricing mechanism, aim to further improve market conditions, enhance appropriate short-term incentives and stimulate competition. Regarding the mentioned "real-time reserve market", Elia concludes in section 4.2.4 of its preliminary scarcity pricing report, that it seems infeasible to be implemented, both from a market desin and legal point of view. Elia would further like to point out that it sees merit in a scarcity pricing proposal without explicit real-time market for reserve capacity (e.g. the omega proposal presented in chapter 6) in terms of contributing to the three conditions for an effective scarcity pricing mechanism as derived in section 3.1.
Febeg | Based on the risks associated with scarcity pricing, and despite the benefits mentioned above, FEBEG agrees with the following statement put forward by Elia: “It is to be noted that notwithstanding a number of critical reflections feeding the debate, at this stage Elia approaches the desirability yet as an open question being part of the more general consideration on the potential implementation of scarcity pricing mechanism for the Belgian market.” Elia rightfully raises some questions, which FEBEG would also like to underline and build upon: Is there actually a problem to solve for which scarcity pricing is the solution? o Do real-time prices not reflect scarcity in a “correct” way? o Is there a need for more investment incentives to highly flexible generation capacity? Do the benefits outweigh the costs? o The administrative costs are significant (legislative changes and follow-up afterwards) o The added market barriers are problematic for newcomers (in an already complex world) We can conclude from this, as Elia does, that “there are several elements that should be considered in the overall evaluation of the introduction of a scarcity pricing mechanism.” And we can add that given the above, a decision to implement ANY type of scarcity pricing mechanism should not be taken lightly as the implications are huge and the benefits may be less obvious then what one can expect based on theoretical/academic examples or examples from market which are very different from the Belgian market (e.g. US markets). | Elia would first like to clarify that the open questions raised in the preliminary scarcity pricing report solely aim to gather stakeholder feedback, Elia taking no position on these questions at this stage. However, Elia takes note of Febeg's opinion that the mentioned questions are indeed relevant and that an implementation of a scarcity pricing mechanism for Belgium requires a carefull assessment of the associated costs and benefits, which should look beyond theoretical examples or experiences with scarcity pricing in markets which are very different from the Belgian market. Again, Elia agrees that any scarcity pricing implementation decision should build upon a positive answer on the question whether such mechanism is generally desirable, which goes beyond the mere feasibility question.
Febeg | FEBEG is fully aligned with the following elements put forward by Elia, clearly indicating why a scarcity pricing mechanism should be considered as complementary (and thus to be implemented in parallel and not to replace) to mechanisms related to adequacy (such as capacity markets/CRM): • The following statement of Elia resumes the issue perfectly “Academic literature supports the view that scarcity pricing mechanisms and capacity mechanisms serve different purposes: the system adequacy is ensured through the capacity mechanism, while the role of scarcity pricing is to improve the accuracy of the short-term price signals. A scarcity pricing mechanism addresses only one condition for the EOM to induce adequacy, i.e. allowing prices to reflect the value of scarcity. However, the other issues related to the investor risk, e.g. due to the lumpiness of capacity investment and the risk associated with relying on scarcity pricing for investment decisions, the absence of free entry and exit as well as the political intervention in the generation mix, still exist”. • “Scarcity pricing cannot guarantee adequacy in the same way and as efficiently as a welldesigned volume-based capacity mechanism. In other words, whilst volume-based mechanisms such as capacity markets, strategic reserves or targeted tenders are specifically targeted at ensuring system adequacy and seek to guarantee a volume based on a reliability standard, scarcity pricing mechanisms’ primary objective is to ensure that balancing market and reserve prices reflect accurately the economic value of electricity at times of scarcity, and thereby only indirectly contributes to system adequacy.” • One crucial element mentioned in the study, based on Newberry (2020) is the fact that a realtime scarcity adder can encourage short-term hedging contracts by addressing a potential short-run market failure it does nothing to solve the missing futures/contract markets with a tenor of 14+ years. • One important reason why scarcity pricing does not contribute (or very little) to reaching the adequacy criteria is related to the issue of tail risk, which is clearly put forward by Newberry (2020). “Scarcity prices are the tails of the distribution of spot prices, and as such prone to huge errors, as pointed out not just in the financial literature”. Therefore, investment decisions that rely on scarcity prices are extremely risky. This is not compatible with the requirements of capital markets, as Elia points out: Being a capital-intensive industry, with significant risks of stranded assets and long asset lifetimes, the power generation industry is confronted with risk aversive capital markets. Consequently, no investment is possible based on such “tail risks”. • Another issue which arises when mixing short term and long-term objectives is that targeting long-term resource adequacy by providing investment signals to highly flexible resources may be extremely costly. As the scarcity pricing mechanism remunerates specifically highly flexible capacity (the one that can be considered as upward regulating capacity by Elia) such a mechanism provides investment signals especially to these resources costly and therefore not cost-efficient. Slower reacting capacity, however, is as useful for dealing with resource adequacy problems, and could be cheaper. • When looking at various examples of scarcity pricing in other electricity markets, one can unambiguously conclude that, except for 1 case (Texas), there is a clear preference to implement in parallel scarcity pricing mechanisms and capacity markets. Clearly, scarcity pricing is not conceived as the sole driver for investment, which is rather the objective of capacity markets. In the US, PJM, NYISO, MISO and ISO-NE all have a centralized CRM in place, in Europe, ALL countries which have implemented (or plan to implement) a scarcity pricing mechanism (Ireland, Italy, Poland, UK) have implemented a CRM as well. • The “exception” of Texas may be limited in time as Zarnikau et al (2020) and Bajo-Buenestado (2019) point out that it is unclear if the improved scarcity pricing would outweigh the meritorder effect of RES in incentivizing market entry. Following this conclusion, Zarnikau et al (2020) consider that this may require additional mechanisms in Texas to induce adequacy, such as capacity mechanisms. | Elia takes note of Febeg's support for the reflections presented in section 2.4 of Elia's preliminary scarcity pricing report, concluding that scarcity pricing is not able to eliminate by design the missing money problem and guarantee a predefined reliability standard, but that it might be rather a tool providing investment signals to highly-flexible (i.e. reaction time ≤ 15mins) resources. Elia further takes note of Febeg's conclusion following these reflections that a scarcity pricing mechanism should be differentiated from (complementing instead of replacing) mechanisms related to target adequacy, such as capacity mechanisms.
Febeg | On top if this, already extensive list of arguments that warn against the use of a short term “fix” to a longer-term problem, we would like to add the following overall remarks • It is not clear to which extend the scarcity pricing on a tense Belgian network will backpropagate on an interconnected EOM market. • Looking exclusively at the national market should really be avoided given the very high interconnectivity of the Belgian market with other European ones, and this at different timeframes (forward, day-ahead, intra-day, real-time). | Elia does not entirely agree with the remarks raised by Febeg. There is indeed a strongly interconnected EOM, leading to amongst others an interconnected day-ahead price that is generally regarded as reference energy market price signal, also in Belgium. However, this interconnected day-ahead price is also reflective of several local elements, such as for instance anticipated local balancing issues towards real-time. In the same way, a scarcity price adder integrated in the real-time price signal - even if it would only be implemented in the imbalance price of a specific control zone (cf. omega component) - is expected to back propagate towards the interconnected EOM. Of course, this back propagation of a local price adder will be only one element in the overall price formation, which is also affected by 'interconnected' aspects. Moreover, whether such backward propogation would be perfect and/or sufficient to trigger new investments is another question. This is further elaborated upon in sections 2.4.1 and 4.4.2 of Elia's preliminary scarcity pricing report.
Febeliec | Febeliec would like to stress that it is strongly convinced that the Energy Only Market (EOM) is still the best market model to guarantee good market functioning and that any intervention on the EOM target model can only be seen as a temporary measure to ensure correct market functioning during a transitional period. Febeliec strongly believes that the price signal given by the EOM, if remaining barriers to market functioning are removed or mitigated and transparency is provided, gives a strong enough price and thus investment signal to suppliers and BRPs. It is the role of the BRP in the market model that for Febeliec remains crucial and central in the European market functioning (which is conceived in a very different way than the US markets that are referred to several times throughout the report and the discussions on scarcity pricing mechanism); the obligation for BRPs to maintain a balanced portfolio, for Febeliec clearly in/towards the real-time timeframe but also already in the day ahead timeframe as is currently the case in Belgium, should be the focus of all concerned market actors, as this guarantees a correct price signal. Insofar system adequacy would be jeopardized, after removing all remaining market barriers, Febeliec is open to look into all possible solutions, with capacity mechanisms as a measure of last resort. With respect to scarcity pricing mechanisms (as opposed to scarcity pricing which for Febeliec refers to the possibility for market prices to rise without price caps, an element now guaranteed under the latest modifications of the European market design with market price caps to rise whenever certain thresholds are reached, thus allowing them to rise towards the level of Value of Lost Load (VoLL) for the segments with the lowest VoLL), Febeliec is not convinced that these will guarantee system adequacy (as opposed to system flexibility availability, which is a different topic and as understood currently not considered at risk in Belgium) while they will definitely increase overall costs for consumers. | Elia takes note of and agrees with Febeliec's comment regarding the important role of the energy market and the fact that any intervention on the EOM should be transitional and may not hamper good energy market functioning. Moreover, Elia agrees that at some stage when all necessary conditions are fulfilled, the price signal given by the EOM might be sufficient to provide the necessary investment signals to guarantee adequacy. With respect to scarcity pricing mechanisms, Elia takes note of Felebliec's position that it is not convinced that these will guarantee system adequacy, which is in line with Elia's findings presented in section 2.4 of its preliminary scarcity pricing report. On the cost element raised by Febeliec, Elia would like to refer to chapter 5 of its preliminary scarcity pricing report, providing some first reflections on the anticipated net cost for society of different scarcity pricing implementations based on the CORE study. In this context, it is of particular importance whether the scarcity pricing mechanism targets a remuneration of energy or also of capacity. Elia wishes to remind that the UCL CORE does not provide an insight in the financing sources for a scarctiy pricing mechanism.
Febeliec | Febeliec does not completely agree that “peakers and baseload plants must cover their fixed costs from short-run profits”. While this might be more directly relevant for the former if looked at a stand-alone scenario, most generation assets are deployed within a larger portfolio. The same applies even more so for baseload plants, where a substantial share of future generation (in some cases, all future generation) is sold in forward markets under a long term hedging strategy (both for the seller and buyer of the capacity and energy), which should take into account all costs, thus also fixed costs. Most suppliers/BRPs only sell a small fraction of the portfolio in short term markets, day ahead, intraday or balancing, mostly based upon ever better information and reduced uncertainty (e.g. related to intermittent generation, planned and unplanned outages, weather conditions, … which can all impact supply). As such, the short term markets, while extremely important for (reference) price formation and matching supply and demand from a dispatch point of view, are not the only relevant revenue stream to calculate overall income and profitability of plants. | The statement that "peakers and baseload plants must cover their fixed costs from short-run profits" originates from the energy market underlying theoretical principles. Elia agrees with Febeliec, as can be observed in practice, that assets are likely deployed within a larger portfolio and can engage into hedging strategies by securing incomes long(er)-ahead on forward and future markets. However, as Febeliec mentions, the short-run markets are important not only for making optimal dispatch decisions, but also to provide reference prices towards futures and forward markets. In case of perfect price propagation, it could be said that installations cover their fixed costs from short-run price signals either through direct trade in short-run markets and/or through selling at forward prices that are refective of the short-run price signals. Of course, it can be questioned whether the mentioned backward price propogation is in fact perfect and/or sufficient to trigger new investments. This is further elaborated upon in sections 2.4.1 and 4.4.2 of Elia's preliminary scarcity pricing report. Another issue raised by Elia in its report is that the hedging products available on the market do not necessarily match the tenor of investments, thereby hampering the interpretation of back propagation as an investment signal.
Febeliec | On the restriction of prices (in day-ahead, intraday and balancing markets, as forward markets operate without price caps), Febeliec wants to stress that this issue has been tackled by the Clean Energy Package and corresponding legislation, as market price caps will now increase whenever certain thresholds are reached (and already well below the actual price cap level), thus ensuring that these should not form a structural limitation for prices to rise towards VoLL. Nevertheless, Febeliec is convinced that prices do not have to rise, except for potentially very limited occasions, to such levels as already below the level of overall system VoLL, market opportunities and VoLL levels of certain categories will lead to market reactions (e.g. investment in new generation capacity, demand side response, storage, …). In any case, since the automatic mechanism for increases in market price caps is in place, Febeliec is convinced that this barrier for market functioning is de facto removed and no real limit to price formation still exists. | Section 2.1.2 refers to possible drivers for missing money in general, prices caps being one possibly relevant driver. However, Elia agrees with Febeliec on the fact that explicit price caps - unlike implicit price caps - are no longer a relevant market barrier for the case of Belgium, following recent market design evolutions that ensure that price caps increase dynamically whenever certain thresholds are reached. Elia will add this reflection towards its final scarcity pricing report.
Febeliec | On market power mitigation approaches, Febeliec does not understand how Elia sees ex post investigations in bidding behaviour as a possible source of problems towards system adequacy. Febeliec remains convinced that in the European market model, it is important that in the day ahead market timeframe with a pay-as-cleared mechanism all actors offer their assets at their short run marginal cost, to ensure a correct dispatch of capacity while also ensuring the required inframarginal rents to recuperate the total cost of their investment over time with a profit margin (with as only theoretical exception the marginal unit if it were always to be exactly the same unit). To ensure that no market power abuse is applied, ex post investigation to bidding behaviour looking into the correctness of the short run marginal cost approach are for Febeliec key to the good functioning of the market and not at all a barrier. The above-mentioned point on rising market price caps also guarantees that asset owners can bid their real marginal cost and recuperate it via the market. Febeliec insists yet again that it is incorrect to compare practices in the US markets and the European integrated market as they have a completely different set-up and structure and as such are to a large extent incomparable. One crucial difference is for example the European intraday market , which allows for adjustments after the day ahead clearing to allow market players to cope with better information and reduced uncertainty, which does not exist in the US. | Elia fully agrees with Febeliec on the fact that market power mitigation meaures are justified to avoid market power abuse. However, the point intended in section 2.1.2 is that it may be difficult for market power mitigation approaches to distinghuish market power abuse from genuine opportunity pricing - i.e. bidding at prices above short run marginal costs - to the extent such behavior would be allowed at all. If the perceived threat of market power mitigation measures imposes an implicit price cap on market actors, preventing prices to genuinely rise up to the VOLL, this would effectively present a market barrier and hence a driver for missing money problems. Note that by referring to these aspects Elia does not intend to cast an opinion on which market power mitigation measures are deemed appropriate or should be avoided. Elia will further clarify this aspect towards the final scarcity pricing report.
Febeliec | On scarcity pricing mechanisms as a solution of missing money problems, Febeliec is not convinced that this will solve this so-called issue, as it will distribute a supplementary revenue stream, at the detriment of cost to consumers, to a range of market players, without in itself guaranteeing security of supply. For Febeliec, the worst possible outcome would be to reduce the EOM to a mere dispatch model, with a certain level of inframarginal rents, adding on top of that both a scarcity pricing mechanism AND a market-wide capacity remuneration mechanism, as Febeliec is convinced that at least to a certain extent consumers would pay three times for the same capacity. A potentially effective but definitely far from efficient outcome! In this sense, the observation that ERCOT (Texas) might need to add a CRM on top of its scarcity pricing mechanism is quite worrisome and raises questions on the capability of such mechanism to guarantee security of supply. In general, Febeliec wonders whether a tight system from a balancing perspective always is the result of an adequacy issue. While the causal relation might be quite strong in the other direction, it is not a given in this direction, as even important imbalances can also occur at times when overall system adequacy was not at all at risk. | Elia takes note of Febeliec's opinion on scarcity pricing mechanisms not being able to guarantee adequacy, which is in line with the reflections presented in section 2.4 of Elia's preliminary scarcity pricing report. Elia also takes note of Febeliec's concerns regarding the costs associated with a scarcity pricing mechanism and in particular regarding the cost efficiency when using such mechanism to target adequacy. Finally, Elia agrees with Febeliec's reflection that a distinction is to be made between a tight system from a balancing versus adequacy perspective. Indeed, a balancing problem is not necessarily the result of an adequacy issue. Section 2.4.3 of Elia's preliminary scarcity pricing report elaborates further on this aspect.
Febeliec | On the role of operating reserves in an EOM design, Febeliec would like to stress that in the European market design, BRPs are responsible for balancing their portfolios, with the TSOs only responsible for residual balancing, with clear (price) incentives for BRPs to ensure their balance. Moreover, system adequacy in Europe is not a task of TSOs. Stating that beyond the minimum contingency level for reserves, holding more operating reserves would be better, depends on the point of view. From a TSO perspective, this could be the case. However, for the consumers who have to pay for the reservation of such reserves, all extra capacity comes at a cost and anything beyond what is needed for residual system balancing only leads to unwarranted extra system costs and should thus be avoided. The same applies for a certain extent to the level of balancing capacity that is reserved, because when markets become more liquid, it could be less needed to reserve large capacities but rather rely on the (balancing) markets to provide all needed balancing energy to the TSO to maintain residual system balance. Febeliec in any case rejects any proposal that would lead to unneeded expensive capacity reservation, a priori if this is to be paid by consumers. And in any case, and as already mentioned above, Febeliec refuses to accept a system where consumers would be paid twice for the same capacity. | Elia agrees that the statement "holding more operating reserves (beyond a minimum contingency level) would be better" requires further context, which Elia will add in its final scarcity pricing report. This statement is made from a perspective of dealing with contingencies, in the sense that holding more resources would help to cover a broader range of possible contingencies. Nevertheless, Elia would like to point out that the statement referred to relates rather to US market practice and in particular Hogan's perspective (Hogan 2013 – Electricity Scarcity Pricing Through Operating Reserves), but that - as indicated with a footnote in Elia's preliminary scarcity pricing report: "this perspective is as such not compatible with the European rules on how to dimension balancing reserves as explained further".
Febeliec | Febeliec was also quite surprised to observe that the ERCOT example showed clearly that market power abuse is still a very real issue even under the market system with a scarcity pricing mechanism and wonders whether in a highly concentrated market for baseload electricity generation implementing such system would not lead to yet another issue of market concentration that would have to be remediated. In any case, Febeliec strongly insists that the ERCOT example does not seem to be directly implementable in Belgium, as market fundamentals are to a very large extent non-similar and it should thus be avoided to apply a too fast change that could lead to a whole range of unintended and harmful side effects, especially in a broader European context (as the scope of this report is only Belgium). | Elia takes note of Febeliec's concerns regarding market power abuse and Febeliec's desire to assess an introduction of a scarcity pricing mechanism in Belgium carefully, the ERCOT example being not directly transposable to the Belgian (and broader European) context, given the very different market fundamentals.
Febeliec | On the potential implementation of a scarcity pricing mechanism is Belgium, Febeliec insists that this should in no way lead to the perverse effect that it would cannibalize the balancing market or alternatively the day-ahead or intraday market. Insofar a scarcity pricing mechanism could lead to additional investments to ensure better system adequacy, this should only be done under the absolute precondition that this does not jeopardize good market functioning, and definitely not in a way that would put Belgian consumers at an additional competitive disadvantage as compared to the neighbouring countries and other Member States. | Elia takes note of Febeliec's request to ensure that an implementation of a scarcity pricing mechanism in Belgium does not jeopardize good market functioning, and in particular to ensure that Belgian consumers are not put at a competitive disadvantage compared to (consumers) in neighbouring countries. Elia agrees, as indicated explicitly in its report, that any scarcity pricing implementation decision should build upon a positive answer on the question whether such mechanism is generally desirable, which goes beyond the mere feasibility question. Regarding the latter aspect, Elia would like to point out - as indicated repeatedly throughout its preliminary scarcity pricing report - that the only true way to avoid such discriminatory effects in a European context, seems to be a harmonized EU-wide scarcity pricing implementation with all MWs delivering the same service having access to the same pricing mechanisms.
Febeliec | On the possible modifications in ERCOT to make the ORDC function more “trigger happy”, Febeliec is very worried that such approach would also be followed in Belgium if a scarcity pricing mechanism were to be implemented, as this would definitely increase pay-outs which could potentially lead to additional capacity yet would inexorably lead to again (much) higher costs for consumers. In other words, the calibration of pay-outs and triggers under any possible scarcity pricing mechanism will be of the utmost importance and should be handled with the highest possible caution to avoid overshooting at the detriment of cost for consumers. | Elia takes note of Febeliec's request for a clear and transparent calibration of the scarcity pricing mechanism, which will be taken into account towards the preliminary implementation plan included in the final scarcity pricing report.
Febeliec | On capacity reservation mechanism, Febeliec wants to refer to its extensive comments on these in numerous consultation and discussions. Where Febeliec does not oppose the implementation of CRMs as a last resort measure under very strict conditions and for a clearly delimited timeframe (in line with the Clean Energy package), it is not convinced that a scarcity pricing mechanism will be able to guarantee security of supply in the same way. For both mechanism, Febeliec urges the strongest possible caution as any major modification of the Belgian market design could have very large and long-lasting effects, both wanted and unwanted, and it remains unclear how and when such additions to the current market design could be ended, implying that consumers could be exposed to additional (potentially excessive) payments ad vitam eternam. As stated above, for Febeliec the worst possible outcome would be an EOM with inframarginal rents and scarcity rents on which are added both a scarcity pricing mechanism and a capacity market, as this would potentially guarantee Belgian security of supply yet would at the same time guarantee an exploding system cost for consumers. Febeliec reiterates its believe in the EOM, especially with price caps now in essence abolished under the new automatic increase mechanism. Moreover, Febeliec wants to underline its continuous strong believe in European market integration and the implementation of the electricity target model in all timeframes and as such rejects any possible modification that could jeopardize those targets. | Elia takes note of Febeliec's view regarding the EOM and possible interventions to guarantee security of supply, the latter required to be effective yet cost-efficient and only transitory. Elia also takes note of the fact that Febeliec is not convinced that a scarcity pricing mechanism can guarantee security of supply in the same way as a CRM can. This viewpoint is in line with Elia's reflections included in section 2.4 of its preliminary scarcity pricing report.
Nemo Link Limited | The implementation of a scarcity pricing mechanism could – depending on the design – have a significant impact on the Belgian electricity market by affecting price behaviour, the risk exposure of BRPs and the relative competitiveness of market players. NLL believes that for such a complex matter, it is very important that market parties are duly consulted before an implementation decision is made. | Elia takes note of Nemo Link Limited's desire to duly include market parties in the design of a potential scarcity pricing mechanism, before an implementation decision is made. This is also emphasized in the proposed way forward by Elia in its suggested implementation plan.

## On Elia analysis of CORE study
Stakeholder | Received feedback | Elia's answer
Febeg | Before implementing a scarcity mechanism, one should consider not only the benefits or advantages. Indeed, a well-documented cost-benefit analysis of such a scarcity pricing mechanism is essential and one should also consider all the implications related to the financing of this system. | Elia takes note of Febeg's request to perform a cost-benefit analysis before implementing a scarcity pricing mechanism. While a dedicated cost-benefit analysis of a scarcity pricing mechanism is out of scope of the current incentive, Elia would like to refer to chapter 5 of its preliminary scarcity pricing report, in which first reflections on the financing of a scarcity pricing mechanism are presented. Also, the explicit open questions raised by Elia in terms of desirability take a (qualitative) view towards the relevance of such cost-benefit assessment.
Febeg | We fully agree with the principle put forward by Elia that any market design adaptation must consider the prevailing market design and must comply with the boundaries set by the (notably EU) legal context. This, obviously, has huge implications on the feasibility of ANY type of market intervention. Elia also mentions the issues related to the European level, stating that the “ever more important European dimension characterizes the prevailing market design”. This issue is also very important for FEBEG as a “level playing field”, between Belgium and other countries, and a reasonably predictable legal framework are vital for a well-functioning (electricity, balancing) market. More specifically as Elia rightfully points out, any scarcity pricing implementation measure has to consider the upcoming golive of the European balancing platforms PICASSO & MARI. It is clear that the feasibility and desirability of scarcity pricing is seriously hampered when looking at the European level. As mentioned before by FEBEG, any pricing elements that are administratively added to the imbalance price reduce the visibility the BRPs need, distort the price signal deviating from the pure marginal approach and preclude a true level playing field amongst EU countries that are about to link their balancing markets through Balancing Capacity Cooperations and participation to European Balancing platforms. | Firstly, Elia would like to clarify that it deems the prevailing market design and current legal context especially relevant when considering market design evolutions in the short- to mid-term future. This is believed to be the case for the concerned scarcity pricing mechanism, since an introduction within 1 to 2 years is being considered as timeframe for this study. Of course, larger degrees of freedom could be afforded for market design evolutions aimed to be implemented further into the future. Next, Elia takes note of Febeg's perceived importance to consider and safeguard market design evolutions on European level, in particular the planned PICASSO & MARI European balancing platforms, that aim to provide a level playing field across EU countries. Elia agrees that the benefits of those platforms should not be jeopardized by other mechanisms that may introduce discrimination or distortions. Finally, Elia takes note of Febeg's criticism regarding the addition of components to the imbalance price. However, in this respect Elia would like to refer to article 9(6) of ACER’s adopted methodology on Imbalance Settlement Harmonization (ISH) that allows TSOs to propose additional components, which is effectively what Elia's alternative scarcity pricing proposal entails.
EFET | We appreciate Elia’s comparative analysis in English of different scarcity pricing implementation measures and we agree with Elia that the application of scarcity price adders on BSPs (both in energy and capacity prices) bounces with legal obstacles. Moreover, it is hardly compatible with the prevailing market design and would have discriminatory effects and potentially distort the good European market functioning. | Elia takes note of EFET's confirmation of the analysis of the CORE study, as presented in chapter 4 of Elia's alternative scarcity pricing proposal.
Febeliec | On virtual bidding, Febeliec refers to its comments on the consultation on the day ahead balancing obligation abolition and in general wants to state that it is not convinced that such system is applicable in Europe, which compared to the US markets has a.o. an intraday market, while such virtual bidding also comes with additional challenges with respect to possible abuse. Febeliec is also not convinced that this would bring much additional value to the Belgian system and questions the benefits. Febeliec in any case wants to avoid modifying the Belgian market design to implement potentially unneeded (or even impossible to integrate) solutions which create yet again new issues to solve. Febeliec strongly opposes any system where it would be allowed to hold open positions and hoard capacity for later timeframes, as especially in markets with higher market power concentration this could potentially lead to catastrophic outcomes for consumers and prices. | Elia takes note of Febeliec's comment, but would like to refer to Elia's dedicated study on removal or weakining of the day-ahead balance obligation for a more in-depth discussion on the matter. In the context of scarcity pricing, virtual trading was assessed in Elia's preliminary scarcity pricing report to the extent it could provide added value for a scarcity pricing implementation. An elaborate analysis of the advantages and disadvantages of virtual trading (and the abolishment of the day-ahead balance obligation as a possible first step in this direction) was considered out of scope.
Febeliec | On Elia’s analysis of the CORE proposal, Febeliec takes note of the analysis, including the legal analysis, and wants to refer to all previous comments on the general conditions to which any modification of the EOM, be it e.g. a scarcity pricing mechanism or a capacity market mechanism, should fulfil. On the financing of a scarcity pricing mechanism, for Febeliec it would be difficult to support the implementation of scarcity pricing mechanism if it is not guaranteed that it would bring additional investments towards system adequacy (as compared to system flexibility, which does not seem an issue in Belgium at this point). In any case, in a European context it would be unacceptable that costs for Belgian consumers would explode due to large pay-outs to BSPs all over Europe, without any formal guarantee that this would benefit Belgian system adequacy. | Elia takes note of Febeliec's position regarding the financing of a scarcity pricing mechanism, on which Elia presents some first reflections in chapter 5 of its preliminary scarcity pricing report. It is to be noted that such reflections where not part of the CORE study that has been analysed. Regarding the additional investments triggered by a scarcity pricing mechanism and whether this can be guaranteed, let alone guaranteed to achieve a predefined reliability standard set in Belgium, Elia would like to refer again to section 2.4 of its preliminary scarcity pricing report where Elia indeed argues that such mechanism is inherently not designed for such purpose.
Nemo Link Limited | NLL welcomes Elia’s analysis of the CORE study. We agree with several of the concerns that Elia raises with respect to the recommendations of the CORE study, specifically regarding the challenges around a unique real-time energy price and the introduction of a real-time market for reserve capacity. | Elia takes note of Nemo Link Limited's agreement with the mentioned elements of Elia's analysis of the CORE study as presented in chapter 4 of the preliminary scarcity pricing report.

## On Omega proposal
Stakeholder | Received feedback | Elia's answer
Febeg | Specifically regarding the proposal of Elia (Omega Component – which is a more feasible/simplified version of a Scarcity pricing mechanism) FEBEG would like to clarify that, if such a scarcity component would be implemented, a lot of improvements and fine-tuning would be required. The current proposal by Elia is thus far from perfect and does not realise the required objectives in an efficient and effective way. | Elia takes note of Febeg's comment and can confirm - as indicated in the preliminary implementation plan presented in chapter 6 of the preliminary scarcity pricing report - that (if decided to implement the omega component) Elia proposes to foresee time during Q1/Q2 of 2021 to develop a future-proof and robust omega calculation methodology.
Febeg | However, FEBEG also wants to recall that Art. 44.1(b) EBGL that states that the imbalance settlement price should reflect the “real time value of energy”. The real time value of energy naturally takes into account the risk of scarcity. Therefore, if properly set according to the EB GL principles, the imbalance settlement price mechanism should de facto provide an adequate price in situations of scarcity. As a result, and in the ideal world, any administratively set scarcity adder would be either redundant, or serve as a deterrent to setting the imbalance settlement price properly. Following this idealistic reasoning, only in case of a scarcity caused brown-out (load shedding), the value of that intervention must be reflected in the imbalance price. For that reason, in such case, the imbalance price must be increased to the (assessment of the) VoLL. This is a very different approach to the one which applies a probabilistic approach (LOLP). In any case, if implemented in a non-coordinated way, such additional components would lead to different imbalance price behaviour with similar imbalance volumes in the different European control areas. Their use should be harmonised through the definition of an imbalance price methodology, instead of listing the major components as currently proposed (as unfortunately set in the methodology for the Imbalance Settlement Harmonization). | Elia takes note of Febeg's comments but would like to refer to ACER's adopted methodology on Imbalance Settlement Harmonization (ISH) that through article 9(6) explicitly foresees the possibility for the TSO to propose additional components, to be included in the imbalance price calculation. The omega component should be seen in this respect. For the pricing of imbalances during so-called brown-outs, Elia refers to the developments in the context of Market Suspension Rules in the context of the Emergency and Restoration Network Code.
Febeg | In the current Elia Proposal, BSPs are providing upward capacity in real-time via BFU or balancing bids but are not remunerated for that (if not activated), as the omega is only applied to BRP. Therefore, what incentive has the BSP to do so (aka provide such capacities)? How can the initial goal of the omega (to attract high-flexible capacity) be achieved? The role of BRPs and BSPs should be clearly defined, as they might act in an opposite direction. | The omega component is to be seen in the first place as an alternative scarcity pricing proposal, that is deemed feasible also in the context of the current legal framework. However, note that at the same time, several open questions regarding its desirability were raised in the preliminary scarcity pricing report, on which Elia does not take position at this stage. Fundamentally however, Elia would like to reiterate - as stated also in the preliminary scarcity pricing report - that the purpose of the omega component is to provide an incentive such that from a system perspective, sufficient capacity is available whenever the system approaches scarcity and the remaining margin becomes tight, in Belgium. In general, Elia believes the application of a Belgian scarcity price adder - i.e. the omega component - on Belgian BRPs matches the actors capable and responsible for acting on the situation and is therefore logical. It is up to the market, including all market actors and roles involved, to act on the incentive that is given through the omega component. Finally, Elia would like to point out that the proposed omega component should not be considered in isolation, but rather as an additional incentive in a broader, interconnected market design. A BSP may for instance also be activated based on a foreign TSO request. Finaly, Elia also refers to the reflections in the report of the links between pricing of reserves in day-ahaed and the pricing of energy in day-ahead, which both implicitly also take into account expectations of future real-time prices.
Febeg | BRPs want BSPs to invest in capacity to reduce the risk of the omega facto kicking in. In the current set-up, those investments might materialize in the form of very high capacity / very low energy content asset. Is this really the desired outcome of this mechanism? | As also referred to in the answer on the previous comment, the purpose of the omega component is to incentivize market players to ensure sufficient capacity is available whenever the system approaches scarcity and the remaining margin becomes tight. Note that such conditions may persist over multiple quarter hours and would therefore require to ensure capacity availability over an extended period of time. Hence, it is not necessarily true that the omega component will result in high capacity / low energy content assets. Rather, the capacity that will prevail is expected to be adapted to relevant Belgian scarcity problems, translated through the omega component. In any case, if the omega component reflects truly scarcity and if it would back-propagate sufficiently as investment signal, it is left to market parties to to translate such investments into the optimal capacity mix for the system. There is not a central steering in the kind of capacity that should be developped as a consequence.
Febeg | With the introduction of an omega factor, two incentives would be present (and potentially compete) in a single imbalance market: o Balance the system to not be exposed to high imbalance prices via the alpha component, and o Adding margin to not be exposed to high imbalance prices via the omega component. This might lead to inefficiencies as those two can work against each other. As a BRP, one would tend to be long when there is not much upwards regulating capacity, even if the system is almost balanced (but short). | The alpha and omega component serve a different purpose, in an integrated market design. These components will provide their targeted incentives towards market players, according to system needs. During scarcity-irrelevant moments, the omega component will not apply and the balancing mechanism will operate as it currently does. When the omega does apply: ● First and foremost it is ensured by design that this is only possible during negative to zero system imbalances, in order not to risk to distort appropriate balancing incentives; ● Secondly, when both components apply simultaneously, only the maximum of the omega and alpha value is considered, in order not to double count the incentivizing effect; ● Finally, if the omega component would apply at time when the system is almost balanced (but just short), it means that there is a relevant scarcity risk. It is then up to the market to balances both incentives against each other.
Febeg | The possibility to see the omega factor pushing imbalance prices close to VOLL at only a slightly positive System Imbalance will have destabilizing effects. BRPs would have a large incentive to keep the SI negative in order to avoid imbalance costs rather than offering additional incremental bids. | The comment is not entirely clear to Elia. It is assumed that positive/negative is meant to be reversed. In any case, the omega component is proposed to apply only during negative to zero system imbalances. About the comment - assuming it is meant to say that omega might be pushed close to VOLL at only a slightly negative SI - Elia would like to point out that the system imbalance is only one component in the calculation of omega, next to the "available margin in the system", including for instance reserve capacity margins and available free bids. When this available margin would be close to zero, it means that the system is at risk of scarcity already when small negative system imbalances occur. The omega would then correctly reflect the situation and provide according incentives. Again however, it is up to the market to assess the incentives given and take appropriate actions.
Febeg | For all these incentives to play out in a beneficial way it may be necessary to exchange flexible capacity between market participants such that large BRPs can extract value from it by reducing risk in their portfolio. A new kind of transaction between BRPs and BSPs, which is not part of this design, would have to be set up (money transfer in order to ensure investment by BSP). | Elia wonders to which extent such transactions (amongst BRPs and BSPs, and also transversally) are not a normal part of market functioning already today. In such case, the omega component may only incrementally increase the need to engage in such transactions. Moreover, in this respect, the omega component is not believed to be different from the scarcity pricing mechanism proposed in the CORE study, also depending heavily on transactions amongst BRPs and BSPs. Again, the purpose of the omega component is to provide an appropriate incentive from a system perspective, while it is and remains up to the market parties to act on these incentives.
Febeg | In terms of money flow, as the Omega factor is only applied when the system is short or balanced, it means that there will be more BRP with a short than long position, so more BRP paying the high imbalance price than receiving it. The existing delta would flow to Elia. It must be clear how this delta will be reallocated by the TSO (e.g. follow the current rules or not) | Elia agrees with Febeg that amongst others the financing of the omega component - if decided to be implemented - still has to be worked out and that all details have to be clear upfront. However, the financing of a scarcity pricing mechanism is considered out of scope of this incentive, as also in the CORE study that is analysed it was not part of the scope. Only some first reflections were included in Elia's preliminary scarcity pricing report. Elia agrees that for any delta 'earned' with the omega component it should clearly defined to whom it should go and how it should be used.
EFET | However, we disagree with Elia’s alternative proposal of introducing a scarcity component – further referred to as omega (Ω) component – in the imbalance price calculation applied to Belgian BRPs during negative to zero system imbalances and during structural capacity shortages. We objected before that in case a TSO identifies the need for stronger incentives in scarcity situations, the TSO should not propose to its relevant regulatory authority to apply a scarcity or an incentive component in imbalance pricing1. Art. 44.1(b) EBGL states that the imbalance settlement price should reflect the “real time value of energy”. The real time value of energy naturally takes account of the risk of scarcity. Therefore, if properly set according to the EB GL principles, the imbalance settlement price mechanism should de facto provide an adequate price in situations of scarcity. In addition, if implemented in a non-coordinated way, such additional components would lead to different imbalance price behaviour with similar imbalance volumes in the different control areas. Their use should be harmonised through the definition of an imbalance price methodology, instead of creating additional components as currently proposed. Only in case of a scarcity caused brown-out (load shedding), the value of that intervention must be reflected in the imbalance price. For this reason, it must be checked whether for these periods the imbalance price would remain below (an assessment of) the VoLL and in such case the imbalance price must be increased to the VoLL.” | Elia takes note of EFET's position but would like to refer to ACER's adopted methodology on Imbalance Settlement Harmonization (ISH) that through article 9(6) explicitly foresees the possibility for the TSO to propose additional components, to be included in the imbalance price calculation. The omega component should be seen in this respect. For the pricing of imbalances during so-called brown-outs, Elia refers to the developments in the context of Market Suspension Rules in the context of the Emergency and Restoration Network Code.
Febeliec | If however Belgium were to decide to implement a scarcity pricing mechanism, Febeliec sees merits in the so-called Omega proposal of Elia, as it strengthens the price and investment signal towards BRPs to ensure system balance in their portfolios and does not come at a direct extra cost for consumers, who will through competition be able to select the supplier and corresponding BRP that provides them the correct level of price versus adequacy (BRPs with sufficient capacity will be able to avoid very high imbalance tariffs and could even earn money on unused capacity and thus provide better conditions to their clients). Nevertheless, Febeliec wants to stress that it this point it is not convinced of the need for scarcity pricing mechanisms nor capacity remuneration mechanisms in Belgium, other than the currently already deployed strategic reserve which is an out-of-market mechanism and as such does not directly impact market functioning but is rather to be considered as a backstop measure to avoid that capacity would leave the system prematurely. | Elia takes note of Febeliec's appreciation for the proposed Omega component - while at the same time Febeliec clearly points out that it is currently is not convinced of the need for any interventions to the EOM.
Febeliec | On Elia’s proposal for the implementation of an Omega component next to the alpha component (which Febeliec would not like to see abolished, as it gives an additional incentive to BRPs to ensure that they maintain balance in their portfolio and so decrease overall residual system imbalances to be covered by Elia and paid for by consumers via balancing capacity reservation), Febeliec sees some merits in this proposal as it avoids various elements which for Febeliec would be unacceptable, while it at the same time strengthens the BRP incentive to maintain balance and is self-financed. However, Febeliec at this point remains unconvinced that any scarcity pricing mechanism should be implemented at all in Belgium, as it is not at all convinced that this would lead to a better system adequacy at an efficient system cost! In this sense, even though the Omega factor has some merits, Febeliec is in essence opposed to its implementation at this stage. | Again, Elia takes note of Febeliec's appreciation for the proposed Omega component - while at the same time Febeliec clearly points out that it is in essence opposed to its implementation.
Nemo Link Limited | 1/ There is currently not a strong case for implementing an Omega factor Elia’s position2 is that scarcity pricing (and by extension its proposal for an Omega factor) is not able to eliminate the ‘missing money’ problem and, therefore, does not serve the purpose of ensuring a minimum reliability standard. In our view, this limits the use case of the Omega factor to providing an additional balancing incentive to Balancing Responsible Parties (BRPs) to improve the efficiency of balancing. However, Elia’s report does not provide any evidence that the current market design does not already offer sufficient to balance. Because the potential drawbacks and risks of an implementation of the Omega factor (as also described below), NLL’s view is that there should be a clear rationale for the Omega before Elia implements this. | Elia takes note of Nemo Link Limited's opinion against the implementation of the Omega factor. Regarding the potential drawbacks and risks related to the Omega factor, for which Nemo Link Limited refers to further comments, Elia also refers to its answers below on specific issues raised by Nemo Link Limited.
Nemo Link Limited | 2/ The Omega factor as proposed would reduce balancing market liquidity In its report, Elia argues that the Omega factor can only apply to BRPs and not Balancing Service Providers (BSPs) for various legal and practical reasons. Therefore, BRPs would pay/receive the Omega factor when they are short/long during a scarcity event, whereas this would not be the case for BSPs. Nemo Link views this as a market distortion as it will incentivise BRPs to withhold their flexibility instead of offering this flexibility to Elia as BSP (or to sell this flexibility to other market parties). This will result in less visibility on the available flexibility in the balancing market and could reduce the efficiency of dispatch of balancing reserves. | Elia would like to point out that the omega component is to be seen in the first place as an alternative scarcity pricing proposal, that is deemed feasible also in the context of the current legal framework. However, note that at the same time, several open questions regarding its desirability were raised in the preliminary scarcity pricing report, on which Elia does not take position at this stage. Fundamentally however, Elia would like to reiterate - as stated also in the preliminary scarcity pricing report - that the purpose of the omega component is to provide an incentive such that from a system perspective, sufficient capacity is available whenever the system approaches scarcity and the remaining margin becomes tight, in Belgium. In general, Elia believes the application of a Belgian scarcity price adder on Belgian BRPs matches the actors capable and responsible for acting on the situation and is therefore logical. It is up to the market, including all market actors and roles involved, to act on the incentive that would be given through the omega component.
Nemo Link Limited | 3/ The Omega factor could decrease overall welfare Elia argues that the Omega factor will reduce Elia’s need to take balancing actions, thereby reducing costs and increasing overall social welfare. However, this argument does not consider the costs that BRPs incur to manage the increase imbalance exposure that the Omega would bring. Whereas the Omega factor could incentivise some BRPs to positively contribute to balancing by going long in case of a significant shortage and vice versa, this flexibility from BRPs is neither proven nor will it be transparent to the market. This lack of transparency will make it difficult for BRPs to assess their imbalance exposure. Eventually, BRPs without sufficient flexibility in their portfolio may need to start contracting reserve capacity on a bilateral basis, which is likely to be less efficient than the pooling of flexibility in Elia’s balancing mechanism. | In the preliminary scarcity pricing report, Elia does not relate the omega component to the need for balancing actions and associated costs. Rather, the omega component is put forward as an incentivizing component included in the imbalance price calculation (in accordance with article 9(6)(a) of ACER’s decision of 15 July 2020 on the Imbalance Settlement Harmonization methodology), with the purpose to provide an incentive such that from a system perspective, sufficient capacity is available whenever the system approaches scarcity and the remaining margin becomes tight. Hence, the omega component is to be seen as a preventive measure against structural capacity shortages. Furthermore, Elia would like to point out that it is each BRP's own responsibility to hold a balanced position. Doing so avoids ever having to pay the omega component.
Nemo Link Limited | 4/ The Omega factor is a technical (non-market-based) factor and per definition arbitrary The Omega factor is a technical, non-market-based mechanism and the parameters used to calculate it are exposed to a high degree of judgement by both Elia and CREG. We fear that it will be difficult to calibrate the mechanism to ensure a correct balance between adequate balancing incentive on the one hand and undue penalisation on the other. In any case, NLL’s position is that no change of the scarcity factor mechanism or its parameters should happen without first consulting the market. | Elia takes note of Nemo Link Limited's view regarding the calculation methodology of the omega component, but would like to stress - as indicated in the preliminary implementation plan presented in chapter 6 of the preliminary scarcity pricing report - that (if decided to implement the omega component) Elia proposes to foresee time during Q1/Q2 of 2021 to develop a future-proof and robust omega calculation methodology. Furthermore, Elia will take into account the request to consult the market on the omega component calculation methodology, which shall be included in the preliminary implementation plan towards Elia's final scarcity pricing report.
Nemo Link Limited | 5/ Barriers to entry The increased risk exposure in the Belgian balancing may discourage market parties (e.g. renewable energy generators) from taking up the role of BRP and therefore effectively represent a barrier to entry. | Elia takes note of Nemo Link Limited's position regarding the omega component raising entry barriers.

## On prel. implementation plan
Stakeholder | Received feedback | Elia's answer
Febeg | From a legal/practical point of view, the majority of the requirements put forward by CORE/CREG are impossible to implement under current market circumstances. FEBEG strongly believes that priority must be given to the timely implementation of MARI and PICASSO, which will require a lot of resources from all parties involved. | Elia takes note of Febeg's position to give priority to the timely implementation of MARI and PICASSO and the confirmation by FEBEG that several aspects of the CORE mechanism are impossible under the current market circumstances.
Febeg | Whatever the next steps will be, FEBEG considers that further alignment/discussions with the market parties involved is not only desirable, but essential. | Elia will take into account Febeg's request for market party involvement in the preliminary implementation plan towards Elia's final scarcity pricing report. It is emphasized as an important element.
Febeg | Elia rightfully and clearly advises against the swift and one-sided implementation of any type of scarcity pricing mechanism. We agree with the overall analysis of Elia stating that given that the regulatory track is to start from Q3 2021, and even if several documents are perceived to evolve in parallel, a golive of the scarcity component by the end of 2021 is not feasible – especially if a CREG/CORE solution should be implemented. | Elia takes note of Febeg's confirmation of the preliminary implementation plan presented in Elia's preliminary scarcity pricing report and in particular of Febeg's agreeement with the fact that any scarcity pricing implementation by the end of 2021 is not feasible, especially if it ought to be the mechanism put forward by CORE.
Febeg | FEBEG wishes to underline again the following principles and issues related to the timing put forward in the past. Concerning the timing proposed by the CREG in its draft decision for the implementation of the scarcity pricing mechanism, FEBEG considers it to be completely unrealistic. This timing is simply not possible, nor from a practical/legal perspective (considering the needed amendments and impacts on T&C BRP, the tariffs or the Federal Grid code) nor from a technical perspective (IT infrastructure). Also, we would like to support the remarks of Elia related to the very heavy agenda ALREADY foreseen for the coming months: several projects that require an evolution of the T&C BRP, the MARI/PICASSO implementation, adaptations to Transfer of Energy (ToE) Day-Ahead/Intra-Day and/or adaptations to the day-ahead balance obligation. | Elia takes note of Febeg's confirmation of the fact that an implementation of scarcity pricing by the end of 2021 is, for various reasons, not deemed feasible.
Febeg | A go-live by the end of 2021 would also have a detrimental impact on the well functioning of the market as this would result in rapidly changing methodologies/regulations (related to the go live of PICASSO and MARI). This hypothetical future would result in extreme uncertainty, which would completely outdo any perceived benefits from the implementation of a scarcity pricing mechanism and amplify the undesired side effects related to entry barriers. | Elia takes note of Febeg's opinion that striving for a go-live of a scarcity pricing mechanism by the end of 2021 would not be desirable.
Febeliec | If such implementation were to be decided, Febeliec insists to maintain a realistic implementation track to ensure that a smooth integration in the current market design can be guaranteed, while it is also essential to ensure sufficient upfront visibility to investors and market actors to adapt their behaviour to ensure that it guarantees the wanted outcomes at the lowest cost possible and without short term child sickness issues. | Elia takes note of Febeliec's desire to maintain a realisitc implementation track, which has been duly considered - to the extent possible at this stage - towards drafting the preliminary implementation plan.
Nemo Link Limited | Finally, NLL agrees with Elia that the implementation of Omega (or an alternative scarcity mechanism) should only happen until after the go-live of MARI and PICASSO, to avoid delays to the implementation of these important platforms. | Elia takes note of Nemo Link Limited's agreement with the fact that an implementation of a scarcity pricing mechanism after the go-live of MARI and PICASSO is preferable.